Review of Remote Sensing and Artificial Neural Networks in Wind Force Prediction for Renewable Energy Production

Mohammad Jafar Mokarram
School of Electronic Engineering and Intelligent Manufacturing
Anhui Xinhua University
Hefei, China
mjmokarram@axhu.edu.cn

Mohamed Hafez
Faculty of Engineering FEQS
INTI International University
Nilai, Malaysia 
Faculty of Management, Shinawatra University, Pathum Thani, Thailand, mohdahmed.hafez@newinti.edu.my
Marzieh Mokarram
Department of Geography, Faculty of Economics, Management and Social Sciences
Shiraz University
Shiraz, Iran
m.mokarram@shirazu.ac.ir

Ayman Amer
Faculty of Engineering, Zarqa Univeristy, Jordan. Email: Aamer@zu.edu.jo

Abstract—Renewable wind energy production is strongly influenced by dynamic changes in wind speed and power, environmental parameters, and turbine operating conditions. These factors play a key role in the development of reliability studies. These factors are also important in the forecasting of wind energy production. In this regard, the combination of remote sensing with artificial neural networks (ANN) is an effective tool for accurate wind power forecasting. Several studies have been conducted with different but related objectives in real-time estimation of reliability and energy production. This study provides a comprehensive review of the literature related to the application of remote sensing and ANN in wind behavior forecasting for renewable energy production. A special focus is placed on describing the range of case studies such as wind forecasting. These include simple ANN models to hybrid deep learning. Key variables such as wind speed, direction, and climate data are also investigated. This study highlights research that uses these technologies to predict reliability problems. Studies that use them to develop preventive maintenance policies are also highlighted.

Keywords—Remote sensing, artificial neural networks, wind force prediction, renewable energy.

# Introduction

The research background of artificial neural network (ANN) models for wind power and wind energy generation prediction dates back many years. This trend has been driven by rapid advances in artificial intelligence and the availability of big data towards more complex and hybrid models [1], [2], [3]. In the early stages, research focused on simple ANN models such as multilayer perceptron (MLP) networks. These models were used to predict short-term wind speed based on historical and meteorological data. For example, [4] have investigated three common neural network models including adaptive linear element, backpropagation, and radial basis function. The results showed that the choice of neural network type for the best performance depends on the data sources. By the 2010s, the integration of ANN with signal decomposition techniques such as wavelet became popular.

Integration of models with numerical weather prediction (NWP) models was also developed. Studies have shown that hybrid ANN-wavelet models handle wind fluctuations better. These models reduce the root mean square error (RMSE) [5]. Cadenas and Rivera (2009) used ANN for short-term wind speed forecasting in the La Venta region, Oaxaca, Mexico. They used an artificial neural network to represent hourly time series of the location [6].

The results showed that the simplest two-layer model performed best for short-term forecasting. This model had two input neurons and one output neuron. The values of mean square error and mean absolute error were 0.0016 and 0.0399, respectively. The developed model showed very good accuracy. This model can be used by the control center of the electric utility in Oaxaca for energy supply. In recent years, the emergence of deep learning (DL) has brought about a huge transformation. Recurrent Neural Networks (RNNs), Long Short-Term Memory (LSTM) and Gated Recurrent Unit (GRU) models were used to investigate the temporal dependencies in wind time series.

These models replaced traditional ANNs. [7] presented an analysis of deep learning, executive learning and transfer learning methods for modeling wind speed and wind power forecasting. The results showed that deep neural network can cope with arbitrary nonlinear transformation.

This is possible through appropriate structural design such as adding noise to the outputs. Evolutionary learning has also been used to optimize the hidden layer weights. The objective function optimization also stores information that can improve the accuracy of the output. These models filter out irrelevant information for forecasting. In addition, [8], [9] highlighted the application —a clean energy technology that plays a vital role in energy development and supports the progress of developing countries [10], [11], of LSTM for renewable energy in a comprehensive review. Transformer and Attention-based models such as Informer were also introduced for long-term forecasting. These models better model spatiotemporal dependencies [12].

Recent research focuses on automated and explainable models. For example, WindDragon introduces an innovative framework for regional wind energy forecasting over short time horizons (1–6 h). The framework uses an automated deep learning regression model. WindDragon is specifically

Fig. 1. A combination of remote sensing and ANN for wind energy forecasting

Table 1. Key Studies on ANN/DL Models for Wind Prediction

| No. | Authors | Year | Title | Journal/Conference | Key Summary |
| --- | --- | --- | --- | --- | --- |
| [4] | Li, Shi | 2010 | On Comparing Three Artificial Neural Networks for Wind Speed Forecasting | Applied Energy | Compares three conventional ANN models—adaptive linear element, backpropagation, and radial basis function—which are used for wind speed forecasting. |
| [7] | Deng, X. et al. | 2020 | Wind Power Forecasting Methods Based on Deep Learning | UNLV Digital Scholarship | Provides a review of deep learning methods, which are applied to wind power forecasting. |
| [12] | Belletreche et al. | 2024 | Hybrid Attention-Based Deep Neural Networks for Short-Term Wind Power Forecasting Using Meteorological Data | Scientific Reports | Introduces an optimized hybrid deep learning approach that utilizes meteorological data to enhance short-term wind energy forecasting in desert regions. Models such as LSTM and Conv-Dual Attention Long Short-Term Memory (Conv-DA-LSTM) were evaluated. |
| [13] | Valdivia-Bautista et al. | 2023 | Artificial Intelligence in Wind Speed Forecasting: A Review | Energies | Reviews ANN and deep learning methods and proposes a modeling methodology. |
| [14] | Wang et al. | 2025 | Enhancing Wind Power Forecasting Accuracy Through LSTM with Adaptive Wind Speed Calibration | Scientific Reports | Introduces the C-LSTM model, which calibrates wind speed to improve forecasting accuracy. |
| [15] | Manero et al. | 2018 | Wind Energy Forecasting with Neural Networks: A Literature Review | Computación y Sistemas | Provides a review of ANN applications, which are used for wind power forecasting. |
| [16] | Yang et al. | 2024 | A Survey on Wind Power Forecasting with Machine Learning Approaches | Neural Computing and Applications | Presents a systematic and analytical review of technical advancements in wind energy forecasting. |

designed to process wind speed maps. The model automatically builds deep learning models using NWP data. This process provides advanced wind energy forecasts [8]. Table 1 provides an example of key studies on the use of neural networks for wind energy forecasting [13].

Figure 1 shows a combination of remote sensing and ANN for wind energy forecasting.

Table 1 presents a sample of key studies on the use of neural networks for wind energy prediction.

# Artificial Neural Network Models in Wind Force Prediction

## Artificial Neural Network Models

ANN models are powerful tools for wind power forecasting. These models work by mimicking the learning processes of the human brain. They have the ability to model nonlinear and complex relationships between environmental variables such as wind speed and direction [14]. These models identify hidden patterns in wind time series by learning from historical data. They provide accurate forecasts for wind energy production. ANNs are very useful due to their high tolerance for data uncertainty. These models are also capable of processing large data sets from remote sensing. Satellite data and high-frequency radars are examples of these sources [15]. ANNs are effective in short-term and long-term wind power forecasting. However, these models require high-quality and large-volume data. Computational complexity is also a major challenge for these models.

## Architecture and Types of ANN Models

ANNs are composed of neural layers.

The structure consists of an input layer, hidden layers, and an output layer. In the simplest form, feedforward neural networks (FNNs) such as MLPs are used to predict wind speed. More advanced models include convolutional networks (CNNs). RNNs also fall into this category. Deep learning models such as LSTM and GRU are suitable for temporal and long-term forecasts [16]. Recently, Transformer-based models such as Informer have been introduced. These models are used to model spatio-temporal dependencies in wind data. This improves the forecast accuracy.

## Mathematical Formulation

The output of a neuron in the hidden layer, Zm, is calculated from a linear combination of inputs (Xi) and an activation function: Zm = f(Σ αmi ˟ X_i + αm0) where f is the activation function (e.g., sigmoid or ReLU) and αm0 is the threshold (Haykin, 2009). The network output, Y, is defined as follows: Y = g(Σ βj ˟ Zj + β0) where g is typically the identity function for regression problems. The learning process aims to optimize weights (αmi, βj) by minimizing a loss function, such as the sum of squared errors, through algorithms like backpropagation with gradient descent.

## Learning and Validation Process

ANNs are typically trained with 70-80% of the training data. 20-30% of the data is also used for testing. The backpropagation algorithm updates the weights at each iteration. This process optimizes the loss function. To avoid overfitting, regularization techniques such as Dropout are used. K-fold cross-validation is also widely used. This method is used to select the optimal architecture. It is also used to tune hyperparameters such as the number of neurons or the learning rate [14].

## Modern and Hybrid Models

Hybrid models such as combining ANN with wavelet decomposition (Wavelet-ANN) have been introduced. These models are used to reduce data noise. These models are used to improve short-term forecasting (1–6 h) [15]. Transformer and Attention-based models such as Informer have also been developed. These models are suitable for long-term forecasting (more than 24 h). These models are also useful for managing large remote sensing data. Automated models such as Autoformer have also been introduced. Deep reinforcement learning (DRL)-based frameworks have also been used. These models are used for regional wind forecasting. These approaches improve accuracy at large scales by up to 20%  [16].

# Review of Deep Neural Network Models for Wind Speed and Wind Energy Production Prediction

## Scope of Review and Classification of Prediction Models by Application

Deep neural network (DNN) models have the ability to process large data sets and model complex nonlinear relationships. These models are widely used in wind speed and wind power generation forecasting. They utilize remote sensing data such as high-frequency radars and satellite data. They also use environmental variables such as wind speed, direction, temperature, and humidity. These models provide accurate short-term (1-6 hours) and long-term (more than 24 hours) forecasts. The aim of this section is to review the applications of DNN in wind speed and wind power generation forecasting. The focus is on models that help improve the optimization of energy generation and the sustainability of smart grids. The identified models are divided into three main categories:

• Energy Production Prediction Models (EPPM): focus on directly predicting wind energy production using environmental variables [17].

• Meteorological Forecasting Models (MFM): forecast wind speed and direction by integrating meteorological and remote sensing data [18].

• Hybrid Advanced Models (HAM): combine DNN with preprocessing techniques such as wavelet decomposition or reinforcement learning to improve accuracy [19].

This classification helps to better understand the applications of DNN and select the most appropriate model for each operational scenario. Unlike traditional ANN models, DNNs are more capable of extracting complex features from raw data due to their multiple hidden layers. They perform better in large-scale forecasts and large-scale remote sensing data.

## Deep Neural Network Models in Wind Speed and Wind Energy Prediction

DNN models are capable of processing multidimensional data and complex time series. These models are particularly useful in offshore wind farms and mountainous areas. They use input variables such as wind speed (WS), wind direction (WD), temperature (T), humidity (H), and remotely sensed data (SRD). These models simulate wind behavior patterns and provide accurate predictions.

## Energy Production Prediction Models (EPPM)

## IMEP models are designed to directly predict wind power generation. For example, [20] used an LSTM model with adaptive wind speed calibration. These models improved short-term forecast accuracy. They usually use historical turbine data and environmental variables to predict power output.

## Meteorological Forecasting Models (MFM)

MFM models predict wind speed and direction by integrating meteorological and remote sensing data. [21] used CNN to predict wind speed in mountainous areas. They reduced the RMSE by utilizing high-frequency radar data. A three-stage framework based on CNN-LSTM was presented. This framework combined satellite data for short-term wind forecasts in desert areas [22].

## Advanced Hybrid Models (HDM)

HDM models improve forecast accuracy by combining DNN and advanced preprocessing or learning techniques [23]. They used a combination of ANN with wavelet decomposition to forecast wind speed. This reduced data noise and improved RMSE. Automated deep learning with numerical weather prediction (NWP) data has also been applied to regional forecasting.

Discussion of Results

Studies show that DNN models have higher accuracy than traditional ANNs. Correlation coefficients in short-term forecasts are often reported to be above 90%. RMSE in these models is usually below 5%. Wind speed (WS) variable is the most widely used input in all models. Remotely sensed data plays a key role in MFM and HDM models. HDM models, especially those using Transformer and DRL, excel in long-term and large-scale forecasts. However, the need for high computational resources and data quality remains a major challenge.

On the other hand, most of the ARAM case studies were successful in detecting and correcting failures in the short and medium term. Few examples were found for ARAM as a detection and prediction tool. These examples involved specific failure modes with advanced knowledge about the degradation and consequences of progressive failure. In grid-connected wind farms, more repeatable and accessible data was advantageous. This data provided better accuracy. The advantages of ARAMs are evident in their rapid implementation and improved reliability. Some sources indicate that ANN models allow for easy implementation of a parallel agent set. This set can work with different generation models and then be combined into a voting system.

# conclusion

ANN models attempt to replicate complex behavioral patterns of a system. They can learn from experience. They offer many possibilities for general use. However, the mathematical complexity and the large amount of data have created controversy in their use. Numerous reviews confirm the use of ANN models in the following situations:

• Generating new knowledge and finding knowledge that is difficult to obtain.

• Using a wide range of variables to improve the accuracy of predictions.

• Using good procedures and information systems to document activities and data.

• Focusing on flexibility and dynamic adaptation, rather than achieving precise or highly accurate results.

Different types and scopes of studies were presented. The prediction variables were analyzed. The characteristics of the training methods, algorithms, and data requirements were shown. This research discusses the necessity of supporting ARAM predictions in a structured framework through a literature review. The steps and concepts based on international standards for achieving sustainable knowledge are clarified. The main contribution of the paper is to identify the opportunity to develop a new research line focusing on the application of AI techniques. The focus is particularly on ANN models for wind power forecasting.

Most of the reviewed literature focuses on energy generation modeling. The current results are an important starting point for the use of AI tools in improving the efficiency of wind farms. In this capital-intensive sector, any minimal improvement in energy efficiency can generate significant economic savings. It also provides an improvement in the quality of services. For this purpose, new advances in AI forecasting tools can be used by increasing the quantity and quality of data. They can also be combined with models such as deep learning models, SVM, T-Basts, random forests and boosting. Future research can also explore synergies with emerging smart grid technologies [24] with challenges in forecasting and optimization. Additionally, advanced signal processing and waveform optimization techniques [25], [26] can enhance remote sensing capabilities for wind monitoring in complex environments, particularly in smart city and vehicular network contexts.

##### References

[1]	P. Gomes and R. Castro, “Wind speed and wind power forecasting using statistical models: autoregressive moving average (ARMA) and artificial neural networks (ANN),” International Journal of Sustainable Energy Development, vol. 1, no. 1/2, 2012.

[2]	A. Nikoobakht, J. Aghaei, M. J. Mokarram, M. Shafie-khah, and J. P. S. Catalão, “Adaptive robust co-optimization of wind energy generation, electric vehicle batteries and flexible AC transmission system devices,” Energy, vol. 230, p. 120781, 2021.

[3]	M. Mokarram, H. R. Pourghasemi, and M. J. Mokarram, “A multi-criteria GIS-based model for wind farm site selection with the least impact on environmental pollution using the OWA-ANP method,” Environmental Science and Pollution Research, vol. 29, no. 29, pp. 43891–43912, 2022.

[4]	G. Li and J. Shi, “On comparing three artificial neural networks for wind speed forecasting,” Appl Energy, vol. 87, no. 7, pp. 2313–2320, 2010.

[5]	R. Abhinav, N. M. Pindoriya, J. Wu, and C. Long, “Short-term wind power forecasting using wavelet-based neural network,” Energy Procedia, vol. 142, pp. 455–460, 2017.

[6]	E. Cadenas and W. Rivera, “Short term wind speed forecasting in La Venta, Oaxaca, México, using artificial neural networks,” Renew Energy, vol. 34, no. 1, pp. 274–278, 2009.

[7]	X. Deng, H. Shao, C. Hu, D. Jiang, and Y. Jiang, “Wind power forecasting methods based on deep learning: A survey,” Computer Modeling in Engineering & Sciences, vol. 122, no. 1, pp. 273–302, 2020.

[8]	M. J. Mokarram, R. Rashiditabar, M. Gitizadeh, and J. Aghaei, “Net-load forecasting of renewable energy systems using multi-input LSTM fuzzy and discrete wavelet transform,” Energy, vol. 275, p. 127425, 2023.

[9]	M. Mokarram, J. Aghaei, M. J. Mokarram, G. P. Mendes, and B. Mohammadi‐Ivatloo, “Geographic information system‐based prediction of solar power plant production using deep neural networks,” IET Renewable Power Generation, vol. 17, no. 10, pp. 2663–2678, 2023.

[10]	H. Attar, M. A. Kamarposhti, and A. A. A. Solyman, “Impacts of integration of wind farms on voltage stability margin,” International Journal of Electrical and Computer Engineering, vol. 12, no. 5, pp. 4623–4631, 2022.

[11]	W. Huang and S. Shao, “Research on Sustainable Economic Development Model Based on Clean Energy,” Journal of Environmental & Earth Sciences, vol. 7, no. 4 SE-Article, pp. 246–265, Apr. 2025, doi: 10.30564/jees.v7i4.8395.

[12]	X. Fu, F. Gao, J. Wu, X. Wei, and F. Duan, “Spatiotemporal attention networks for wind power forecasting,” in 2019 International conference on data mining workshops (ICDMW), IEEE, 2019, pp. 149–154.

[13]	J. Keisler and E. Le Naour, “WindDragon: automated deep learning for regional wind power forecasting,” Environmental Data Science, vol. 4, p. e19, 2025.

[14]	K. Srinivasan, A. K. Cherukuri, D. R. Vincent, A. Garg, and B.-Y. Chen, “An efficient implementation of artificial neural networks with K-fold cross-validation for process optimization,” Journal of Internet Technology, vol. 20, no. 4, pp. 1213–1225, 2019.

[15]	M. M. H. Khan, N. S. Muhammad, and A. El-Shafie, “Wavelet-ANN versus ANN-based model for hydrometeorological drought forecasting,” Water (Basel), vol. 10, no. 8, p. 998, 2018.

[16]	S. Reza, M. C. Ferreira, J. J. M. Machado, and J. M. R. S. Tavares, “A multi-head attention-based transformer model for traffic flow forecasting with a comparative analysis to recurrent neural networks,” Expert Syst Appl, vol. 202, p. 117275, 2022.

[17]	S. Gürgen, B. Ünver, and İ. Altın, “Prediction of cyclic variability in a diesel engine fueled with n-butanol and diesel fuel blends using artificial neural network,” Renew Energy, vol. 117, pp. 538–544, 2018.

[18]	A. R. Finamore, V. Calderaro, V. Galdi, A. Piccolo, and G. Conio, “A wind speed forecasting model based on artificial neural network and meteorological data,” in 2016 IEEE 16th International Conference on Environment and Electrical Engineering (EEEIC), IEEE, 2016, pp. 1–5.

[19]	S. Dhanka, A. Sharma, A. Kumar, S. Maini, and H. Vundavilli, “Advancements in Hybrid Machine Learning Models for Biomedical Disease Classification Using Integration of Hyperparameter-Tuning and Feature Selection Methodologies: A Comprehensive Review,” Archives of Computational Methods in Engineering, pp. 1–36, 2025.

[20]	D. Wang, M. Xu, Z. Guangming, F. Luo, J. Gao, and Y. Chen, “Enhancing wind power forecasting accuracy through LSTM with adaptive wind speed calibration (C-LSTM),” Sci Rep, vol. 15, no. 1, p. 5352, 2025.

[21]	D. Qiao, S. Wu, G. Li, J. You, J. Zhang, and B. Shen, “Wind speed forecasting using multi-site collaborative deep learning for complex terrain application in valleys,” Renew Energy, vol. 189, pp. 231–244, 2022.

[22]	V. D. Juyal and S. Kakran, “CNN-LSTM-based wind forecasting for a residential energy management system,” Neural Comput Appl, pp. 1–19, 2025.

[23]	H. Liu, X. Mi, and Y. Li, “Comparison of two new intelligent wind speed forecasting approaches based on wavelet packet decomposition, complete ensemble empirical mode decomposition with adaptive noise and artificial neural networks,” Energy Convers Manag, vol. 155, pp. 188–200, 2018.

[24]	N. Gholipoor et al., “A Review on the Cross-Sector Resource Management Framework for Electric Vehicles Integration: Challenges, Solutions, Key-Enabling Technologies, and Future Directions,” IEEE Open Journal of Intelligent Transportation Systems, vol. 6, pp. 1084–1120, 2025, doi: 10.1109/OJITS.2025.3593437.

[25]	Z. Asadsangabi, R. Mohseni, and S. Samadi, “Optimizing the OFDM radar waveform for LATT using WAF criteria in smart cities,” EURASIP Journal on Wireless Communications and Networking 2025 2025:1, vol. 2025, no. 1, pp. 90-, Oct. 2025, doi: 10.1186/S13638-025-02525-1.

[26]	F. Aghaei, M. Uysal, R. C. De Lamare, and L. T. N. Landau, “Vehicular MMW Communication: Channel Characterization Based on Ray Tracing Study,” Proceedings of the International Symposium on Wireless Communication Systems, 2024, doi: 10.1109/ISWCS61526.2024.10639124.