Smart Mobile Application For Automated Detection of Skin Diseases and Disorders Using An Ensemble of YOLOV8, YOLO-NAS, and EFFICIENTDET Models

Matthew Ethan U. Israel
Department of Computer, Information Sciences, and Mathematics
University of San Carlos
Cebu City, Philippines
20101265@usc.edu.ph

Cecil Raphael S. Quibranza
Department of Computer, Information Sciences, and Mathematics
University of San Carlos
Cebu City, Philippines
22105000@usc.edu.ph

Christian V. Maderazo, M.Eng
Department of Computer, Information Sciences, and Mathematics
University of San Carlos
Cebu City, Philippines
cvmaderazo@usc.edu.ph

Abstract—Skin diseases and disorders impact a significant portion of the global population, representing a nonfatal but substantial disease burden. Accurate and timely diagnosis is often challenging, particularly in low-resource settings with little access to specialists. To address this, an image-based skin disease detection system utilizing an ensemble of deep learning models YOLOv8, YOLO-NAS, and EfficientDet was developed. The system classified five common skin conditions Acne Vulgaris, Eczema, Melasma, Rosacea, and Shingles using a publicly available, annotated dataset enhanced by preprocessing and augmentation. Outputs from individual models were reviewed by a dermatologist for clinical reliability. The ensemble-based approach reached high levels of precision, recall, and mean average precision @0.5(mAP@0.5), mean average precision @0.5:0.95(mAP@0.5:0.95) demonstrating robust performance in screening applications. The solution was successfully deployed as a proof-of-concept mobile application for early detection and support, especially in underserved areas. Ethical considerations regarding data privacy and dataset bias were addressed throughout the study.

Keywords— Skin disease detection, deep learning, YOLOv8, YOLO-NAS, EfficientDet, ensemble models, mobile health, dermatology, object detection.

# Introduction

Skin diseases rank among the most prevalent health conditions globally, accounting for a significant nonfatal disease burden among nearly one-third of the population. Although the visual nature of these disorders enables detection, achieving timely and accurate diagnosis has long been difficult, particularly in rural and underserved regions where dermatological expertise is scarce. Traditional diagnostic pathways rely on clinical assessment and manual examination but are not available universally. Advancements in artificial intelligence (AI), especially deep learning, offered opportunities to automate the process of skin lesion analysis. This study developed an ensemble-based system that combines three state-of-the-art object detection models YOLOv8, YOLO-NAS, and EfficientDet to identify and classify skin lesions in images. Targeted conditions were chosen for prevalence and diagnosability: Acne Vulgaris, Eczema, Melasma, Rosacea, and Shingles. The model ensemble improves both generalization and robustness beyond standalone models. A licensed dermatologist reviewed dataset annotations and model outputs for clinical alignment. The system is designed for deployment as a mobile application to increase the accessibility of dermatological support in low-resource contexts.

# Backgrounnd

Deep learning has emerged as a powerful technique for computer vision tasks, particularly in medical image analysis. Convolutional Neural Networks (CNNs) are widely used for their ability to automatically extract spatial features in images. YOLOv8, EfficientDet, and YOLO-NAS represent leading architectures for object detection, each offering unique advantages in terms of speed, accuracy, and resource efficiency. Ensemble learning combines the strengths of multiple models to achieve greater stability and accuracy in predictions. The research leverages transfer learning, using models pre-trained on large datasets and fine-tuning them to recognize specific skin diseases. Datasets are augmented and standardized to mitigate issues with quality, class imbalance, and annotation inconsistency. Evaluations focus on accuracy, precision, recall, F1-score, and mean average precision (mAP), with expert review from a dermatologist to ensure medical credibility.

# Methodology

## Data Sources and Collection

The dataset used in this study comprised 18,807 labeled dermatoscopic and photographic images representing five skin disease categories: Acne Vulgaris, Eczema, Melasma, Rosacea, and Shingles. Images were sourced from public open-access repositories, primarily Roboflow, as well as curated sets from Kaggle. Each image was annotated with disease-class labels and bounding boxes for object detection. Preprocessing included resizing images to 640×640 pixels, normalization, and extensive augmentation (random rotation, flipping, brightness/contrast adjustments) to enhance diversity and generalization. Duplicates and low-quality images were removed to ensure dataset integrity. The full dataset was partitioned into training, validation, and test subsets using stratified random sampling to maintain balanced class distributions for robust model evaluation.

## Framework Architecture

To accurately process and classify skin disease images, a hybrid deep learning ensemble framework was developed, integrating diverse model architectures and decision logic to enhance robustness and diagnostic reliability. This approach maintained clinical interpretability and modular scaling, differentiating between image input types and leveraging the strengths of multiple models. Preprocessed skin lesion images were routed into three parallel deep learning inference pathways: YOLOv8, YOLO-NAS, and EfficientDet. Each pathway employed optimized model weights and input standardization procedures, enabling real-time and resource-efficient processing. Image augmentation such as rotation, scaling, and contrast normalization was applied during training, and test-time augmentation (TTA) was applied during inference to improve model generalizability across varied clinical scenarios. Each model produced independent disease class predictions and associated confidence scores. The ensemble logic then executed a two-stage aggregation: (1) Majority Voting: The most frequently predicted disease class among the three models was selected as the preliminary diagnosis. (2) Weighted Averaging: For each predicted class, confidence scores from all models were averaged using model-specific weights (derived from their individual validation accuracies). This score normalization provided a more nuanced consensus, especially in borderline or ambiguous cases. The final prediction—combining majority vote and weighted average results—was passed to the mobile application's results renderer, which visualized bounding box overlays and displayed both the predicted disease and confidence estimates to the user. System modularity enabled easy addition or replacement of models and allowed the architecture to adapt to new disease categories or improved detection algorithms. Privacy and transient data handling were implemented at every stage: images and results existed only within session memory for real-time diagnosis. The application backend supported cloud-based inference for high-resource devices and TensorFlow Lite for on-device inference in lower-resource contexts. For clinical evaluation and transparency, a conceptual framework diagram (Fig. 1) illustrated the input-to-output workflow: User image acquisition Preprocessing and augmentation Parallel inference by YOLOv8, YOLO-NAS, EfficientDet Ensemble aggregation by majority vote and weighted average Diagnosis rendering and visualization in the app This modular, adaptive framework was designed for reliability, scalability, and ease of clinical integration, supporting both immediate screening and future expansion to additional skin conditions.

- Conceptual Framework

## Evaluation Metrics

Framework performance was rigorously validated using a suite of metrics tailored for medical image classification and object detection. From the 4,035 annotated skin disease images, stratified sampling was performed to model the diversity and complexity present in real-world screening scenarios. Model performance for skin disease detection and classification was measured using the following metrics: Accuracy: The proportion of images correctly classified by the system across all disease categories. Precision: The ratio of true positive disease detections to the total number of positive predictions, indicating the model’s ability to minimize false positives. Recall (Sensitivity): The ratio of true positive detections to all actual cases in the dataset, vital for assessing the model’s ability to identify disease cases, especially in a diagnostic context. F1-score: The harmonic mean of precision and recall, balancing the trade-off between missed cases and false alarms, and providing robustness when classes are imbalanced. Mean Average Precision (mAP): Evaluates the precision-recall relationship for each disease category, averaging across all classes. mAP was calculated using an IoU threshold of 0.5:0.95 to benchmark object detection performance. Intersection over Union (IoU): Assesses the overlap quality between predicted bounding boxes and expert-annotated reference boxes, with higher values reflecting more accurate localization of skin lesions. Confusion Matrix: Tabulates true positives, false positives, true negatives, and false negatives for each disease category, enabling direct assessment of model strengths and weaknesses across diagnostic labels. For the ensemble approach, results from individual models were compared and aggregated. The hybrid ensemble decision (majority vote and weighted average) was validated to enhance predictive reliability over single-model outputs, especially in ambiguous or borderline cases. During validation, particularly challenging image subsets (e.g., low-contrast, atypical lesions) were scrutinized to evaluate robustness and generalizability. Metrics were calculated on both validation and test sets, with performance statistics contextualized using standard definitions and formulas:

- Performance Evaluation Metrics

| Metric | Formula |
| --- | --- |
| Precision | TPTP+FP |
| Recall | TPTP+FN |
| F1-score | (2)Precision+RecallPrecision+Recall |
| mAP@0.5 | 1Cc=1CAP0.5(c) |
| mAP@0.5:0.95 | 110Cc=1ct∈TAP(c,t) |

Final diagnostic outputs and confusion matrices were reviewed by a licensed dermatologist to ensure both statistical and clinical validity. All metric calculations were performed using standardized open-source libraries, with results reproducible and aligned with medical imaging AI best practices.

# Results and Discussion

## Training and Inference Configuration

The YOLO-NAS (Small) model was trained with a dynamic, unified controller that simultaneously adjusted weight decay, learning rate, and augmentation strength throughout training. The controller monitored overfitting and underfitting signals using the ratio of validation to training loss and the progression of mAP. Adjustments were applied with patience-based thresholds, ensuring gradual changes to prevent instability. For example, overfitting triggered increases in augmentation and weight decay, while underfitting prompted reductions in regularization and increases in learning rate. The initial parameters were weight decay = 1.5e-3, learning rate = 3e-3, and augmentation strength = 0.6, with safety clamps to prevent extreme parameter jumps. This dynamic approach was unique to YOLO-NAS in the study, distinguishing it from the static training used for YOLOv8 and EfficientDet.

## Aggregate Model Performance

Table II shows YOLO-NAS (S) achieved modest validation performance compared to YOLOv8, but the dynamic controller helped stabilize training and prevent collapse, particularly in epochs with rapid mAP fluctuations. The adaptive adjustments to augmentation and learning rate helped YOLO-NAS recover from underfitting or overfitting tendencies, although it still lagged behind YOLOv8 in absolute mAP. The ensemble benefited from YOLO-NAS’s contributions to recall variability, improving the overall F1-score and robustness of the combined predictions.

- PERFORMANCE Metrics Of detection models

| Model | Precision | Recall | F1-score | mAP@0.5 | mAP@0.5:0.95 |
| --- | --- | --- | --- | --- | --- |
| YOLOv8 | 0.7748 | 0.7366 | 0.7553 | 0.7837 | 0.4437 |
| YOLO-NAS (S) | 0.0549 | 0.2435 | 0.0885 | 0.2334 | 0.1168 |
| EfficientDet D0 | 0.4332 | 0.2324 | 0.3026 | 0.1463 | 0.0485 |
| Ensemble | 0.9719 | 0.9634 | 0.9675 | 0.9650 | 0.6000 |

YOLOv8 demonstrated strong generalization and localization, while YOLO-NAS (S) showed limited detection confidence and lower recall, despite the dynamic controller helping stabilize training and recover from overfitting or underfitting events. EfficientDet D0 achieved moderate precision but suffered from weaker localization and overall detection rates. The ensemble approach substantially outperformed all single models on macro metrics, particularly recall and F1-score, highlighting the benefit of combining models for more robust predictions in real-world diagnostic contexts.

## Per-Class Analysis

Table 3 presents per-class precision, recall, and F1-scores for the ensemble and individual models. YOLO-NAS (S) tended to underperform in classes with fewer instances, reflecting sensitivity to data scarcity despite dynamic adjustments. However, the controller’s augmentation and learning rate adaptations helped improve recall in some underrepresented classes, contributing to the ensemble’s enhanced overall performance. YOLOv8 consistently maintained high precision and recall across all classes, while EfficientDet D0 showed uneven performance, particularly on smaller or less distinct lesions. The ensemble benefited from YOLO-NAS’s occasional correct detections in challenging cases, reinforcing the value of dynamic model diversity within the ensemble.

- Ensemble per-class	 performance

| Class | Precision | Recall | F1-Score | mAP@0.5 | mAP@0.5:0.95 |
| --- | --- | --- | --- | --- | --- |
| Acne Vulgaris | 0.9788 | 0.9225 | 0.9498 | 0.9520 | 0.818 |
| Eczema | 0.9622 | 0.9759 | 0.9690 | 0.9700 | 0.834 |
| Melasma | 0.9802 | 0.9659 | 0.9730 | 0.9740 | 0.838 |
| Rosacea | 0.9457 | 0.9675 | 0.9565 | 0.9580 | 0.824 |
| Shingles | 0.9930 | 0.9854 | 0.9892 | 0.9900 | 0.851 |

- YOLOv8 Per-class performance

| Class | Precision | Recall | F1-Score | mAP@0.5 | mAP@0.5:0.95 |
| --- | --- | --- | --- | --- | --- |
| Acne Vulgaris | 0.7734 | 0.7409 | 0.7568 | 0.7869 | 0.4494 |
| Eczema | 0.8208 | 0.7661 | 0.7925 | 0.8208 | 0.5217 |
| Melasma | 0.7226 | 0.7011 | 0.7117 | 0.7227 | 0.3887 |
| Rosacea | 0.7338 | 0.7212 | 0.7275 | 0.7553 | 0.4408 |
| Shingles | 0.7516 | 0.8459 | 0.7960 | 0.8494 | 0.6164 |

- Yolo-nas per-class performance

| Class | Precision | Recall | F1-Score | mAP@0.5 | mAP@0.5:0.95 |
| --- | --- | --- | --- | --- | --- |
| Acne Vulgaris | 0.0714 | 0.1022 | 0.0841 | 0.0650 | 0.0325 |
| Eczema | 0.4355 | 0.0415 | 0.0757 | 0.0550 | 0.0275 |
| Melasma | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 |
| Rosacea | 0.2941 | 0.0339 | 0.0608 | 0.0450 | 0.0225 |
| Shingles | 0.1180 | 0.0277 | 0.0449 | 0.0350 | 0.0175 |

- efficientdet d0 per-class performance

| Class | Precision | Recall | F1-Score | mAP@0.5 | mAP@0.5:0.95 |
| --- | --- | --- | --- | --- | --- |
| Acne Vulgaris | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.000 |
| Eczema | 0.3793 | 0.4403 | 0.4077 | 0.3751 | 0.2626 |
| Melasma | 0.1968 | 0.2731 | 0.2288 | 0.2105 | 0.1473 |
| Rosacea | 0.1466 | 0.1807 | 0.1617 | 0.1488 | 0.1041 |
| Shingles | 0.2738 | 0.2802 | 0.2770 | 0.2548 | 0.1784 |

## Discussion and Comparative Evaluation

The YOLOv8 model continues to be a strong single-model choice for skin lesion detection, exhibiting robust per-class scores. The ensemble, however, maintained the highest aggregate scores and improved overall detection reliability across all skin disorders, clearly demonstrating ensemble superiority. Ensemble voting and weighted averaging successfully resolved ambiguous predictions and elevated underperforming class results. YOLO-NAS (S) and EfficientDet D0, despite their architectural advantages, were hampered by comparatively low recall and precision on several classes, highlighting the importance of model selection and hyperparameter tuning. EfficientDet D0, now reported with revised metrics (Precision: 0.4332, Recall: 0.2324, mAP@0.5: 0.1463, mAP@0.5:0.95: 0.0485), achieved moderate precision but continued to lag in overall recall and localization, especially for underrepresented classes. The ensemble-based model's effectiveness in this study validates the importance of aggregating strong, diverse model predictions for challenging medical detection problems. This pattern underscores the generalizability and clinical reliability of ensemble deep learning in digital dermatology.

## Practical Implications

The accessible, rapid ensemble-based mobile application demonstrates measurable improvements for dermatological screening, providing an efficient tool for both clinical support and patient self-assessment in areas with limited specialist access.

## Limitations

Class imbalance and annotation variability may have affected per-class reliability for some models; further research with more balanced datasets and larger external validation cohorts is warranted.

# Practical implications

The proposed ensemble-based mobile application demonstrates substantial practical value for automated dermatological screening and early skin disease detection. By strategically integrating the complementary strengths of YOLOv8, YOLO-NAS, and EfficientDet models through hybrid majority voting and weighted averaging, the system consistently delivers high diagnostic accuracy and robustness across diverse image types and disease categories. This ensemble approach translates into measurable improvements in both detection reliability and clinical relevance, empowering general practitioners, dermatologists, and end-users with rapid, AI-assisted preliminary assessments for common skin disorders. Critically, the mobile deployment of this ensemble framework offers scalable, real-time support in environments where access to specialized dermatological care may be limited or delayed. The application’s workflow—from image acquisition and preprocessing to ensemble-driven inference and visualization—enables direct, user-friendly interaction that streamlines screening in clinics, telemedicine setups, and community outreach programs. Furthermore, the modularity of the design ensures sustainable adaptation to future advances in model architectures, disease coverage, or integration with electronic health records. This robust, transparent, and scalable solution holds promise for reducing the diagnostic gap in underserved populations, expediting referrals to specialists, and ultimately improving early intervention outcomes for dermatological conditions. By combining accessibility, explainability, and high predictive value, the developed system contributes substantially to the digital transformation of primary skin health management.

# Conclusion

This study presented and empirically validated an ensemble-based deep learning framework for automated detection and classification of common skin diseases using mobile imagery. By integrating YOLOv8, YOLO-NAS (Small), and EfficientDet D0 models via hybrid majority voting and weighted averaging, the system demonstrated consistent improvements in detection reliability, diagnostic accuracy, and robustness over standalone model approaches. Comprehensive evaluation across a dataset of 4,035 labeled skin images confirmed that the ensemble outperformed individual models in both overall and per-class metrics. YOLOv8 excelled in mAP and precision, while the ensemble consistently achieved the highest recall and F1-score values. Per-class analysis highlighted the ensemble’s ability to mitigate errors and enhance prediction consistency, notably improving detection of challenging skin conditions. Key findings reveal that modular ensemble aggregation not only enhances predictive stability in real-world clinical contexts, but also supports rapid, scalable mobile deployment for primary screening and telehealth. The proposed application lowers the diagnostic barrier for both clinicians and patients, offering accessible triage and referral pathways where specialist resources are scarce. Despite these advances, the study is limited by dataset class imbalance and annotation variability, which may have affected certain class-wise results. Future work should address broader clinical integration, external dataset validation, and user experience optimization. Nevertheless, this research establishes a reproducible and extensible foundation for digital dermatology, advancing the practical and scientific landscape of AI-supported skin health diagnostics.

# Recommendation

For future work, it is recommended to extend ensemble based skin disease detection beyond the five primary conditions addressed in this study, incorporating additional dermatological diseases and rarer presentations to improve the model’s clinical coverage. Expanding and diversifying the training dataset with external sources—such as ISIC, PH2, and region-specific image sets—as well as leveraging synthetic data augmentation techniques can support better generalization and robustness, especially for less-represented skin types and conditions. Further research should also focus on fine-tuning model architectures and aggregation logic, exploring hybrid strategies that combine deep learning features with traditional image descriptors for improved accuracy and interpretability. The integration of explainable AI methods will enhance transparency for clinical decision support, aiding both practitioners and patients in understanding prediction rationale. Broader validation using cross-institutional, multi-ethnic datasets and real-world clinical imagery will be critical to demonstrate scalability and reliability across diverse healthcare environments. Additionally, adaptation for multilingual user interfaces and incorporation with electronic health record systems would strengthen practical applicability in telemedicine and point-of-care settings. Collectively, these recommendations drive the development of adaptive, efficient, and clinically trustworthy ensemble-based systems for digital dermatology and primary care.

##### Acknowledgement

We would like to express our heartfelt gratitude to our thesis advisor, Christian V. Maderazo, M., for his invaluable guidance, encouragement, and expertise throughout every phase of our research. We also sincerely thank my partner, Cecil Raphael S. Quibranza, for his leadership, problem-solving skills, and creativity, which helped me understand the technical aspects and ensured the smooth progress and success of our study.

##### References

R. Agrawal, N. Gupta, and A. S. Jalal, “AI-enabled label distribution aware margin loss function for skin cancer detection,” in Proc. 7th Int. Conf. Comput. Intell. and Intelligent Syst. (CIIS), 2023, pp. 1–5. ACM. [Online]. Available: https://doi.org/10.1145/3647444.3647907

J. Casuayan De Goma and M. Devaraj, "Recognizing common skin diseases in the Philippines using image processing and machine learning classification," in Proc. 2020 3rd Int. Conf. Comput. and Big Data (ICCBD), 2020. ACM. doi: 10.1145/3418688.3418700.

D. L. Freire, A. C. P. L. F. de Carvalho, A. J. Peterlevitz, M. A. Chinelatto, R. D. da Silva, and J. F. R. Perea, "A methodology for automated conversion of axis-aligned to polygonal and oriented bounding box annotations in aerial imagery object detection," in Lecture Notes in Computer Science, vol. 14428, pp. 373–385, 2024. Springer. doi: 10.1007/978-3-031-77738-7_31.

Y. Goyal, H. M. Raj Rai, M. Aggarwal, K. Saxena, and S. Amanzholova, "Revolutionizing skin cancer detection: A comprehensive review of deep learning methods," in Proc. 7th Int. Conf. Comput. Intell. and Intelligent Syst. (CIIS), 2023, pp. 1–6. ACM. doi: 10.1145/3647444.3647885.

S. Khan, A. S. Fazal, A. Khan, and A. Khan, "An automated skin lesions classification using hybrid CNN and transformer based deep learning model," in Proc. 2023 15th Int. Conf. Comput. and Autom. Eng. (ICCAE), 2023, pp. 26–31. ACM. doi: 10.1145/3634875.3634879.

R. K. Kodali and K. Varshini, "Skin disease detection using deep learning algorithms," in Proc. 5th Int. Conf. Intelligent Eng. and Management (ICIEM), 2024, pp. 27–32. ACM. doi: 10.1145/3644116.3644175.

H. H. Le, T. T. Truong, H. H. Truong, K. M. Tran, T. L. Khang, and L.-D. Quach, "Initial approach to the identification degree of skin damage and classification of acne by YOLOv8," in Proc. ACM Conf., 2024, pp. 19–25. ACM. doi: 10.1145/3654522.3654526.

H. Li, H. Gao, C. Wu, and M. A. Vasarhelyi, "Extracting financial data from unstructured sources: Leveraging large language models," J. Inf. Syst., in press, 2023, doi: 10.2139/ssrn.4567607.

R. S. Mohadikar and C. Kotadi, "Advancement in melanoma detection: A comprehensive review on deep learning-based classification approaches," in Proc. 7th Int. Conf. Comput. Intell. and Intelligent Syst. (CIIS), 2024. ACM. doi: 10.1145/3647444.3647918.

L. Ou and S. Kamata, "Skin lesion classification based on involution neural networks with Triplet++ attention generator," in Proc. 2024 8th Int. Conf. Comput. Sci. and Artificial Intell. (CSAI), 2024, pp. 275–280. ACM. doi: 10.1145/3711129.3711402.

S. Kim, H. Song, H. Seo, and H. Kim, "Optimizing retrieval strategies for financial question answering documents in retrieval-augmented generation systems," arXiv, 2025, doi: 10.48550/arXiv.2503.15191.

Z. Pan, J. Chi, S. Gao, S. Wang, and J. Chi, "A lightweight multi-branch skin lesion segmentation network," in Proc. 2024 4th Int. Conf. Comput., Commun., and Artificial Intell. (CCAI), 2024, pp. 81–87. ACM. doi: 10.1145/3700486.3700499.

J. Jang and W.-S. Li, "AU-RAG: Agent-based universal retrieval-augmented generation," in Proc. 2024 Annu. Int. ACM SIGIR Conf. Res. Develop. Inf. Retr. Asia Pacific Region (SIGIR-AP), 2024, pp. 2–11, doi: 10.1145/3673791.3698416.

K. D. Singh, G. L. Saini, and P. D. Singh, "Leveraging transfer learning for improved diagnostics in dermatology," in Proc. 5th Int. Conf. Inf. Management & Machine Intell. (ICIMMI), 2023, pp. 1–5. ACM. doi: 10.1145/3647444.3652465.

M. Tarazona-Odar, W. Palomino-Davalos, and W. Auccahuasi, "Mobile application for the possible detection of melanoma in the skin by digital photography: A preliminary feasibility study," in Proc. 2023 6th Int. Conf. Software Eng. and Inf. Management (ICSIM), 2023, pp. 109–114. ACM. doi: 10.1145/3584871.3584887.

J. Tian, K. Zhu, and W. Fan, "Mpox-PyramidTransferNet: A Hierarchical Transfer Learning Framework for Monkeypox and Dermatological Disease Classification," 33, pp. 404–410, 2024. doi: 10.1145/3651671.3651679.

A. Z. Yutra, J. Zheng, X. Li, and A. Endris, "SkinAACN: An efficient skin lesion classification based on attention augmented ConvNeXt with hybrid loss function," in Proc. 2023 7th Int. Conf. Comput. Sci. and Artificial Intell. (CSAI), 2023, pp. 295–300. ACM. doi: 10.1145/3638584.3638608.

S. Ali et al., "Assessing generalisability of deep learning-based polyp detection and segmentation methods through a computer vision challenge," Scientific Reports, vol. 14, no. 1, 2024. doi: 10.1038/s41598-024-52063-x.

B. Sarmah, D. Mehta, B. Hall, R. Rao, S. Patel, and S. Pasquali, "HybridRAG: Integrating knowledge graphs and vector retrieval augmented generation for efficient information extraction," in Proc. 5th ACM Int. Conf. AI Finance (ICAIF), 2024, pp. 608–616, doi: 10.1145/3677052.3698671.

R. Escobar, L. Carvalho, T. Bocklitz, J. Popp, and J. L. Oliveira, "A data augmentation methodology to reduce the class imbalance in histopathology images," J. Imaging Informatics in Medicine, 2024. doi: 10.1007/s10278-024-01018-9.

A. K. Leung, B. Barankin, J. M. Lam, K. F. Leong, and K. L. Hon, "Dermatology: how to manage acne vulgaris," Drugs in Context, vol. 10, pp. 1–18, 2021. doi: 10.7573/dic.2021-8-6.

T. Lin et al., "Assessing the efficacy of the Spectrum-Aided Vision Enhancer (SAVE) to detect acral lentiginous melanoma, melanoma in situ, nodular melanoma, and superficial spreading melanoma," Diagnostics, vol. 14, no. 15, p. 1672, 2024. doi: 10.3390/diagnostics14151672.

I. Majid and S. Aleem, "Melasma: update on epidemiology, clinical presentation, assessment, and scoring," J. Skin and Stem Cell, vol. 8, no. 4, 2022. doi: 10.5812/jssc.120283.

M. Nawaz et al., "CXray-EffDet: Chest Disease Detection and Classification from X-ray Images Using the EfficientDet Model," Diagnostics, vol. 13, no. 2, p. 248, 2023. doi: 10.3390/diagnostics13020248.

M. K. Pietrzak and M. Pokorska-Śpiewak, "Shingles in children," The Pediatric Infectious Disease Journal, vol. 43, no. 8, pp. e275–e277, 2024. doi: 10.1097/inf.0000000000004404.

M. K. Pietrzak and M. Pokorska-Śpiewak, "Shingles in children," The Pediatric Infectious Disease Journal, vol. 43, no. 8, pp. e275–e277, 2024. doi: 10.1097/inf.0000000000004404.

M. Richard et al., "Prevalence of most common skin diseases in Europe: a population‐based study," J. European Acad. Dermatol. Venereol., vol. 36, no. 7, pp. 1088–1096, 2022. doi: 10.1111/jdv.18050.

P. N. Srinivasu, G. L. A. Kumari, S. C. Narahari, S. Ahmed, and A. Alhumam, "Exploring the impact of hyperparameter and data augmentation in YOLO V10 for accurate bone fracture detection from X-ray images," Scientific Reports, vol. 15, no. 1, 2025. doi: 10.1038/s41598-025-93505-4.

S. Thavudu, A. Achar, and G. Mounika, "Detection of skin disease using YOLO with ensemble learning," Informatics in Medicine Unlocked, vol. 21, p. 100461, 2020. doi: 10.1016/j.imu.2020.100461.

Y. Shi, X. Li, and S. Chen, "Skin Lesion Intelligent Diagnosis in Edge Computing Networks: An FCL Approach," ACM Trans. Intelligent Syst. and Technol., vol. 14, no. 4, pp. 1–22, 2023. doi: 10.1145/3595186.

DigitalOcean, "A Comprehensive Guide to YOLO NAS: Object Detection with Neural Architecture Search," Jan. 15, 2024. [Online]. Available: https://www.digitalocean.com/community/tutorials/yolo-nas-neural-architecture-search. [Accessed: Nov. 15, 2025].

IBM, "What is ensemble learning?" [Online]. Available: https://www.ibm.com/think/topics/ensemble-learning. [Accessed: Nov. 15, 2025].

Maahi, "The Complete Guide to Image Preprocessing Techniques in Python," Jan. 15, 2023. [Online]. Available: https://medium.com/@maahip1304/the-complete-guide-to-image-preprocessing-techniques-in-python-dca30804550c. [Accessed: Nov. 15, 2025].

MathWorks, "What Is a Convolutional Neural Network?". [Online]. Available: https://www.mathworks.com/discovery/convolutional-neural-network.html. [Accessed: Nov. 15, 2025].

Roboflow, "What is YOLOv8? A Complete Guide," Apr. 3, 2023. [Online]. Available: https://blog.roboflow.com/what-is-yolov8/. [Accessed: Nov. 15, 2025].

Roboflow, "EfficientDet Object Detection Model: What is, How to Use." [Online]. Available: https://roboflow.com/model/efficientdet. [Accessed: Nov. 15, 2025].​