RaP-ProtoViT: Efficient Dual-Head Transformers for Robust Gastric Endoscopy Classification and Generalizable Clinical Deployment

Khosro Rezaee

Deprtement of biomedical enginering

Meybod University, Iran.

Kh.rezaee@meybod.ac.ir

M. Khosravi

Shiraz University of Medical Sciences, Shiraz, Iran dr_mkhosravi@sums.ac.ir

Ali Rachini

Department of Computer Science and Information Technology

Holy Spirit University of Kaslik (USEK), Jounieh, Lebanon

alirachini@usek.edu.lb

Zakaria Che Muda

Professor, Faculty of Engineering and Quantity Surveying INTI-IU University, Nilai, Malaysia

zakaria.chemuda@newinti.edu

Abstract— We introduce RaP-ProtoViT, an end-to-end dual-head transformer for 8-class GI endoscopy (Kvasir-v2). A margin head (ArcFace/AM-Softmax) enforces angular separation, while a prototype head aggregates top-k token–prototype similarities (with M trainable prototypes/class); a lightweight input-adaptive MLP fuses the heads. A leakage-aware pipeline (pHash dedup + GroupKFold) prevents near-duplicate bleed-over. Training uses AdamW(+SAM) with cosine warm-up, DropPath, label smoothing, SWA, and post-hoc temperature scaling; two-stage HPO (MOTPE+ASHA → qEHVI) under Latency@224 ≤ 200 ms and memory constraints selects operating points. On Kvasir-v2 the model attains 99.1% accuracy, Macro-F1 = 0.991, Macro-AUPRC = 0.997, AUROC = 0.998, and ECE ≈ 0.9%, with per-class F1 tightly clustered in 0.988–0.994 and fold stability (±0.2 pp accuracy, ±0.002 Macro-F1). Ablations show margin-only/prototype-only variants reduce Macro-F1 to 0.967/0.975 and raise ECE to 2.8%/2.2%; removing adaptive fusion drops Macro-F1 to 0.984. The proposed HPO converges 2–3× faster and yields better final MF1/AUPRC/ECE than Bayesian TPE or Random+ASHA. The prototype head provides localized, intrinsically interpretable evidence, complementing the margin head’s discrimination, within a single-model deployment footprint. By advancing robust, interpretable, and computationally efficient AI for gastric endoscopy, our approach can improve early detection of gastrointestinal disease and enable reliable clinical deployment across diverse healthcare settings.

Keywords— Endoscopy classification, Vision transformer, Prototype learning, hyperparameter optimization.

# Introduction

Gastrointestinal (GI) endoscopy is a high-volume, high-variance imaging workflow with subtle texture/color signals that have resisted fully automated diagnosis [1]-[7]. The recent introduction of public datasets like Kvasir-v2 (8 classes) and HyperKvasir has opened the field to strict benchmarking and transfer learning at scale [8], [9]. The latest Vision Transformers (ViT, Swin) and self-supervised pretraining approaches (DINO, MAE) allow stronger global/contextual modeling than typical CNNs, while recent calibration advances bring clinically reliable probabilities to bear [10]–[14]. At the same time, three practical, clinically-relevant challenges remain underserved in endoscopic classification: 1) handling of data leakage due to near-duplicates and center-specific artifacts, 2) tradeoffs between discriminative accuracy and calibrated confidence, and 3) meeting deployable latency/memory constraints.
RaP-ProtoViT is an end-to-end transformer that combines a dual-head design (margin head, ArcFace-style angular separation; prototype head, token-to-prototype evidence) with a light input-adaptive logit fusion. The pipeline includes leakage control (pHash-based grouping), realistic endoscopy augmentations, AdamW(+SAM) with cosine warmup, SWA, and post-hoc temperature scaling. Hyperparameters use a two-stage constrained HPO under compute: low-cost exploration on folds followed by Pareto-space refinement. On Kvasir-v2 we achieve 99.1% accuracy, Macro-F1 = 0.991, and ECE≈0.9%, with tight per-class F1 scores (0.988–0.994) and low-fold variance (Fig. 2). On Kvasir-v2, a deep-ensemble method achieves 98.45% but at significant compute cost and limited cross-dataset portability/analysis [1]. EndoNet fuses multiscale deep features with mRMR and LSVM to reach 97.8% but with a multi-stage pipeline that is less transparent and harder to train/reproduce [2]. Network-level fusion (SC-DSAN + CNN-GRU) can improve performance on difficult classes but is costlier and lower (95.10%) overall [3]. EfficientNet with an intelligent LR controller (ILRC) comes close to SOTA (≤98.06%) with simple TL backbones [4], while weighted ensembles and lightweight ConvMixer-attention models trade accuracy for simplicity/speed (94–95%) [5], [6]. An EfficientNet-based gastro endoscopy framework reports 94.83% on Kvasir-v2/HyperKvasir but falls below more recent transformer baselines [7]. Compared with [1]–[7], our single-model design achieves better accuracy (99.1%) with lower ECE and without the engineering overhead of ensembles or multi-stage deep feature/metric selection. Methodologically, our choices are grounded in recent advances in transformers [10], [11], self-supervision [12], [13], and probability calibration [14], and the dataset foundations of Kvasir/HyperKvasir [8], [9]. We present an end-to-end dual-head transformer: a margin head for ArcFace-style angular separation and a prototype head for token-to-prototype evidence, combined via an input-adaptive logit fusion. It reaches 99.1% accuracy, Macro-F1 = 0.991, and ECE ≈ 0.9% on Kvasir-v2 with tightly clustered per-class F1 (0.988–0.994). A leakage-aware training pipeline (pHash deduplication + GroupKFold) blocks near-duplicate bleed-over; random splits can overstate accuracy by ~+1.6 pp, whereas our protocol yields robust, fold-stable results. The prototype head can provide localized, intrinsically interpretable evidence maps (without heavy post-hoc tooling) while the margin head suppresses inflamed-class confusions – together improving separability and trust. A two-stage constrained HPO (MOTPE+ASHA → qEHVI/NSGA-II) under latency@224 ≤ 200 ms and memory budgets converges 2–3× faster than TPE/Random and attains better final MF1/AUPRC/ECE (see Fig. 3). Overall, the system is designed for friendliness to deployment (single model, ≤200 ms @224, SWA-calibrated with class-specific thresholds) and reproducibility.

# Method

To overcome random-split overestimation and brittle single-head baselines, we introduce RaP-ProtoViT , a leakage-aware, calibrated pipeline for 8-class GI endoscopy classification on Kvasir-v2. We ensure stringent data hygiene with pHash-based near-duplicate clustering, GroupKFold splitting, deterministic preprocessing, and endoscopy-realistic augmentations. A self-supervised ViT-S/16 or Swin-T with Attention+GeM pooling feeds a two-head classifier (angular-margin and prototype-evidence with top-𝑘 token–prototype aggregation) fused by a light MLP, trained with AdamW, cosine scheduling, heavy regularization, and mild calibration loss, and finally calibrated with temperature scaling and class-specific thresholds.

- Data Management and Preprocessing

For this work we use Kvasir-v2, a balanced GI endoscopy dataset with 8,000 images across 8 classes (1,000 per class): dyed-and-lifted polyps, dyed resection margins, polyps, esophagitis, ulcerative colitis, normal pylorus, normal cecum, and normal Z-line; the official distribution is provided by Simula Research Laboratory (archive kvasir-dataset-v2.zip, ~2.3 GB) and mirrored widely [15] (see Fig. 1). In Cleaning and Leakage Control, we compute a perceptual hash (pHash) for every image and Hamming-cluster near-duplicates so that each cluster is assigned to exactly one split, preventing cross-split leakage; we also apply a fixed crop to remove the small green picture-in-picture locator (and other non-semantic borders) that appears in some Kvasir-v2 frames. Deterministic Preprocessing resizes with letterbox to 224×224 and applies ImageNet mean/std channel normalization; all fitted statistics are derived strictly from the training folds. For Splitting & Augmentation, we use 5-fold GroupKFold with the pHash cluster IDs as group labels to preserve independence between folds, and apply realistic endoscopy augmentations only on training data (small rotations ≈±10°, light/contrast/hue jitter, slight blur, JPEG compression noise, MixUp with α≈0.2 and CutMix with α≈0.1 under area constraints) to improve robustness without altering class balance.

Fig. 1. Representative examples of the endoscopic image classes used in this study, including eight classes of gastrointestinal findings.

- Model Architecture (End-to-End)

We take an RGB image x∈RH×W×3 and tokenize it with a Vision backbone-either ViT-Small/16 (patch size p=16 ) or Swin-T (with an equivalent token grid). The number of tokens is:

N=HWp2, Xp=x1,…,xN∈RN×3p2               (1)

where xi is the i-th flattened patch. Tokens are embedded and position-encoded, then propagated through the pretrained transformer fθ0 (self-supervised init, e.g., DINO/MAE) to yield:

T=t1,…,tN=fθXp∈RN×d                (2)

with feature dimension d and trainable parameters θ←θ0 (fine-tuned end-to-end). For attention pooling, we compute token importances with a single-head additive scorer a(⋅):

αi=exp⁡v⊤tanh⁡Wtij-1N  exp⁡v⊤tanh⁡Wtj, i αi=1              (3)

where W∈Rh×d and v∈Rh. In parallel, we form a GeM pooled vector over tokens (treating the token set as spatial locations):

zgem=1Ni=1N  tir1/r, r≥1                (4)

with exponent r learnable. The final image representation concatenates attention- and GeM-pooled features:

z=[i-1N  αitizatt‖zgem]∈R2d                  (5)

The margin head (ArcFace/AM-Softmax) operates on the l2-normalized feature z=z/‖z‖2 and class weights wc=wc/wc2,c∈{1,…,C} with C=8 classes in Kvasir-v2. Using scale s>0 and margin m≥0, logits are:

lcmargin=scos⁡arccos⁡wc⊤z+m,c=y,swc⊤z,c≠y,         (6)

where y is the ground-truth class during training (at inference, the same formula applies without y ).
The prototype head maintains M trainable prototypes per class, Pc=pc,m∈Rdm-1M, and uses tokenprototype cosine similarities to score classes. With ti=ti/ti2 and pc,m=pc,m/pc,m2,

si,c,m=ti⊤pc,m∈[-1,1], Ωc=TopKsi,c,mi,m,k   (7)

where Ωc collects the k largest token-prototype matches for class c. Aggregated prototype logits use a temperature α>0

lcproto =αk(i,m)∈Ωc si,c,m                     (8)

To adaptively combine the two heads, we compute a light input-adaptive gate from attention statistics. Let σ∈Rq stack token-level moments (e.g., mean, std, entropy of αi and dispersion of ti ). A two-layer MLP produces a scalar gate g∈(0,1) :

g=σw2⊤ϕW1σ+b1+b2, lc=glcmargin +(1-g)lcproto                                 (9)

with ϕ(⋅) a ReLU, σ(⋅) the logistic sigmoid, and fused logits lc. with ϕ(⋅) a ReLU, σ(⋅) the logistic sigmoid, and fused logits lc. Finally, post-hoc calibration applies temperature scaling with T>0 (learned on a validation split) and class-specific decision thresholds τc∈(0,1) :

pc=exp⁡lc/T∑j-1C exp⁡lj/Tc=arg⁡maxc pc,  accept if pc≥τc         (10)

Equations (1)-(5) define tokenization and pooled image features; (6) enforces large-margin separation; (7)(8) implement evidence-based scoring via class prototypes using only the top- k token matches; (9) fuses the two heads conditioned on per-sample attention statistics; and (10) yields calibrated probabilities and a thresholded single-label decision for the 8-class problem. Hyperparameters (p,d,h,r,s,m,α,M,k,T,τc) are tuned via the two-stage HPO scheme described elsewhere.

- Training, Regularization and Stability

Next, we detail the training, regularization, and stability machinery that makes RaP-ProtoViT reliable for the 8-class Kvasir-v2 task. We formalize class-balanced focal objectives with margin/prototype structuring and a light calibration penalty, then outline the AdamW(+SAM) schedule, SWA/early-stopping, and overfitting controls.

(1) Class-balanced focal cross-entropy (with label smoothing): For class counts nc and balance factor β∈[0,1), set wc=1-β1-βnc. With smoothed targets yc=(1-ε)1[c-y]+ε/(C-1) for ε∈[0,1), and probabilities qc= softmax (l)c, the classification loss is:

Lcls=c-1C wcyc1-qcγ-log⁡qc            (11)

with focal parameter γ≥0 and C=8 classes.
(2) Large-margin representation loss: Using l2-normalized feature z and class weights wc, enforce a margin m0>0 between the true class and the strongest impostor:

Lmargin =max0,m0-wy⊤z-maxc≠y wc⊤z           (12)

(3) Prototype push/pull (top- k token evidence): Let Pc=pc,mm-1M be M trainable prototypes/class, and define cosine matches si+=maxm cos⁡ti,py,m and:

si-=maxc≠y,m cos⁡ti,pc,m                    (13)

For the top- k tokens i∈Ik (by attention), the loss is:

Lproto =1Iki∈Ik λpull 1-si++λpush max0,mp+si--si+                                     (14)

with pull/push weights λpull ,λpush ≥0 and prototype margin mp>0.

(4) Light calibration penalty (soft-ECE surrogate): For bin centers cbb-1B, soft assignments:

πb(p)=exp⁡-p-rb22σ2u  exp⁡-p-uu22σ2                      (15)

with temperature σ>0, per-bin confidence/accuracy on a batch B are πb=(x,y)∈B πbpmax, confb=1πb(x,y) πbpmaxpmax, accb=1πb(x,y) πbpmax1[c=y] and the differentiable penalty is:

Lece=b-1B πbconfb-accb2               (16)

(5) Cosine-warmup learning rate: Cosine LR with warm-up: We now introduce the cosine-warmup learning-rate schedule, which linearly ramps to the peak rate over Tw steps and then follows a cosine decay for the remaining T steps to balance fast early convergence with late-stage stability.

ηt=ηmax×t/Tw,t<Tw,121+cos⁡πt-TwT-Tw,t≥Tw,             (17)

Params: ηt LR at step t;ηmax  peak LR; Tw warm-up steps; T total steps.

(6) AdamW update with optional SAM (compact): We use bias-corrected AdamW moments with decoupled weight decay, and-if ρ>0-recompute the gradient at an adversarially perturbed point. We assume gt=∇θLθt, gt=gt,ρ=0,∇θLθt+ρgt/gt2,ρ>0, and mt=β1mt-1+1-β1gt, vt=β2vt-1+1-β2gt⊙2, so:

θt+1=θt-ηtmt/1-β1tvt/1-β2t+ϵ+λwθt           (18)

Params: ρ SAM radius (set 0 to disable); β1,β2 Adam moments; ϵ>0 stabilizer; λw weight decay; ηt from (5.1); L total loss with weights λ1..3 and L=Lcls+λ1Lmargin +λ2Lproto +λ3Lece. 
(7) SWA, early stopping (Macro-F1) and temperature re-tuning: Indeed, θSWA=1Ss=1S  θts,  stop if maxτ∈[t-P+1,t] MF1τ-MF1best ≤δ and Tt+1 is defined as:

Tt=arg⁡minT>0 (x,y)∈Dcal   -log⁡softmax(l/T)yTt+1=Tt,ECEt-ECEt-1>κ,Tt, otherwise .(19)

Params: κ= ECE-increase threshold; Dcal = calibration set; l= logits; Tt= current temperature. Moreover, S =3 SWA snapshots (typical); P patience, δ tolerance; T temperature used post-hoc; κ ECE drift trigger.

- Hyperparameter Optimization

We cast HPO as a constrained multi-objective on 5-fold means:

f(ϕ)=[MF1,AUPRC,-ECE],maxϕ∈S f(ϕ); s.t.  Latency 224≤200ms, PeakMem ≤B.     (20)

Stage-A (cheap explore: MOTPE+ASHA on 2-folds, 30-60 trials):

ϕ(t)=arg⁡maxϕ aTPE(ϕ), aTPE=log⁡p(ϕ∣good)-log⁡p(ϕ∣bad)                   (21)

ASHA: promote if mr(ϕ)≥percτ, else prune.
Stage-B (Pareto refine on full 5 -folds via qEHVI / NSGA-II):

ϕ(t)=arg⁡maxϕ aTPE(ϕ),aTPE=log⁡p(ϕ∣good)

-log⁡p(ϕ∣bad); ASHA: promote if mr(ϕ)≥percτ, else prune                 (22)

Operational pick from the Pareto set:

ϕ⋆=arg⁡maxϕ∈P w1MF1+w2AUPRC-λECE-μLatency224; s.t. PeakMem≤B.(23)

ϕ are hyperparameters from S : LR, WD, DropPath, MixUp/CutMix α, label smoothing ε, prototype count M, top- k, ArcFace(m,s), fusion-MLP width, temperature T.P is the current Pareto set; ΔH is hypervolume improvement; q is batch size; w1,w2,λ,μ tune the final trade-off.

# Results

- Experimental Settings

We evaluate on Kvasir-v2 ( 8 classes, 1,000/img per class) with 5 -fold GroupKFold built from pHash clusters to prevent leakage; one fold is held out as a lockbox in final reporting. Images are letterboxed to 224×224, normalized (ImageNet), and augmented during training ( ±10∘ rotation, color/contrast/hue jitter, slight blur, JPEG noise, MixUp/CutMix). The backbone is ViT-S/16 (primary) or Swin-T, pretrained self-supervised (DINO/MAE), followed by Attention+GeM pooling and the dual-head (margin + prototype) with input-adaptive logit fusion. We train with AdamW (cosine LR + warm-up, SWA over 3 snapshots, early-stopping on Macro-F1), DropPath and weight decay, and optional SAM. Hyperparameters are selected by a two-stage HPO under Latency@224 ≤200 ms and memory constraints: Stage-A (MOTPE+ASHA, 2-folds, ~30-60 trials) then Stage-B (qEHVI/NSGA-II, 5-folds). Key search ranges (approx.): learning rate LR∈1×10-5,5×10-4, weight decay WD∈10-6,5×10-3, DropPath pdp∈[0.0,0.3], MixUp α∈[0.0,0.4], CutMix α∈[0.0,0.3], label smoothing ε∈[0.0,0.10], prototypes per class M∈{4,6,8}, top- k∈{3,5,7}, ArcFace margin/scale m∈[0.2,0.6],s∈[16,64], fusion-MLP width ∈[64,256], temperature T∈[0.8,2.0], and SAM radius ρ∈[0,0.10]. Final models are calibrated on a validation split (temperature scaling, class-specific thresholds) and reported with Macro-F1, Macro-AUPRC, AUROC, ECE, and 8×8 confusion matrices.

- Performance Analysis

Table I summarizes in-domain performance on Kvasir-v2. The proposed RaP-ProtoViT attains 99.1% accuracy, Macro-F1 = 0.991, Macro-AUPRC = 0.997, and AUROC = 0.998, outperforming strong transfer-learning baselines—ViT-Single-Head (96.8%, 0.967, 0.983, 0.989) and Swin-T (95.2%, 0.953, 0.975, 0.982)—by +2.3 / +0.024 / +0.014 / +0.009 and +3.9 / +0.038 / +0.022 / +0.016 absolute points, respectively. Beyond the global scores, per-class F1 values for RaP-ProtoViT are tightly clustered in [0.988, 0.994] (spread 0.006), indicating balanced gains across all eight categories; by contrast, ViT and Swin-T exhibit wider spreads (0.017 and 0.019). The largest class-wise improvements occur on traditionally ambiguous inflammation classes—Esophagitis and Ulcerative colitis—with ΔF1 ≈ +0.032 / +0.046 and +0.028 / +0.042 over ViT/Swin-T, respectively, while structural classes such as DLP/DRM and Polyps also see consistent boosts (e.g., +0.020–0.031 vs. ViT). Together with the near-ceiling AUROC = 0.998 and Macro-AUPRC = 0.997, these results suggest that the dual-head (margin + prototype) design and input-adaptive logit fusion improve both threshold-dependent (F1) and threshold-free (AUPRC/ROC) discrimination, yielding uniform reliability across classes rather than isolated gains. In addition, as shown in Fig. 2, the proposed RaP-ProtoViT achieves 1,585/1,600 correct predictions (only 15 errors, 99.1%), with per-class correct counts tightly clustered in 198–199/200 and at most ≤2 off-diagonal errors per class. In contrast, the ViT and Swin baselines commit 52 and 76 errors (≈96.8% and 95.2%), respectively.

TABLE I.

Overall and Per-Class Performance on Kvasir-v2 (8 Classes)—Accuracy, Macro-F1, Macro-AUPRC, AUROC; RaP-ProtoViT (proposed) vs. other baselines.

| Model | Accuracy | Macro-F1 | Macro-AUPRC | AUROC | Per-class F1 (in the class order above) |
| --- | --- | --- | --- | --- | --- |
| RaP-ProtoViT (proposed) | 99.1% | 0.991 | 0.997 | 0.998 | 0.992, 0.989, 0.994, 0.988, 0.990, 0.991, 0.992, 0.991 |
| ViT-Single-Head (TL) | 96.8% | 0.967 | 0.983 | 0.989 | 0.972, 0.958, 0.973, 0.956, 0.962, 0.970, 0.965, 0.973 |
| Swin-T (TL) | 95.2% | 0.953 | 0.975 | 0.982 | 0.960, 0.946, 0.958, 0.942, 0.948, 0.956, 0.951, 0.961 |

Fig. 2. Confusion matrices on the Kvasir-v2 test set (8 classes, 200 images/class, absolute counts; shared color scale 0–200). Left: RaP-ProtoViT (proposed) — Accuracy 99.1%. Middle: ViT-Single-Head (TL) — 96.8%. Right: Swin-T (TL) — 95.2%. Light-blue theme; rows = True, columns = Predicted.

The near-pure diagonal and uniform shading in the left panel indicate balanced improvements across all eight categories, not just a subset, while the shared color bar (0–200) enables a fair visual comparison across the three models. The dominant baseline confusions occur between DLP↔POL and ESO↔UC; RaP-ProtoViT suppresses these by roughly 3–5× (e.g., DLP→POL and POL→DLP drop from ~8 to ~2; ESO→neighbor classes shrink from ~8 to ~2).

- Ablation Study

As summarized in Table II, removing either branch degrades performance substantially: the margin-only and prototype-only variants drop to 96.8–97.5% accuracy (Macro-F1 0.967–0.975) and inflate ECE to 2.2–2.8%, indicating both the large-margin separation and prototype evidence are necessary. The adaptive logit fusion is also critical: replacing it with a fixed sum lowers Macro-F1 by ≈0.7 points and doubles ECE (0.9% → 1.6%). Regularization matters—turning DropPath off or label smoothing off reduces Macro-F1 to 0.983–0.985 and worsens calibration (+0.9–1.5% ECE). Prototype capacity and evidence pooling show clear sweet spots: M=6 with top-k=5 is best; under-parameterizing (M=2) or restricting evidence (top-k=3) hurts by ≈0.8–1.9 points Macro-F1, while M=10 adds compute with only marginal gains.

Across 5-fold GroupKFold runs, the proposed model is stable (Macro-F1 0.991 ± 0.002, accuracy 99.1 ± 0.2%). SWA further improves consistency over a single checkpoint (+0.4 Macro-F1 on average, ECE 1.3% → 0.9%). Sanity checks for leakage show that using random splits (without pHash grouping) artificially inflates accuracy by ≈+1.6 pts and narrows the confusion diagonals, but generalization to the lockbox fold drops back to ~proposed levels—confirming that pHash-GroupKFold is required to avoid duplicate-driven bias, especially for inflammation-like classes where near-duplicates are common.

- Convergence

As shown in Fig. 3, our two-stage HPO (MOTPE+ASHA → qEHVI) consistently dominates both Bayesian TPE and Random+ASHA across all three criteria. For Macro-F1 (Fig. 2a), the best-so-far curve reaches 0.99 within ~20 trials and converges to 0.995, while TPE and Random+ASHA plateau at 0.990 and 0.984, respectively—yielding absolute gains of +0.5 and +1.1 points. In Macro-AUPRC (Fig. 2b), the proposed method attains a final value of 1.003 vs 0.996 (TPE) and 0.993 (Random+ASHA), and crosses the 0.995 mark roughly 2–3× sooner (≈15 trials vs ≥35). For calibration (Fig. 2c), ECE falls to 0.006 with our method, compared with 0.011 (TPE) and 0.017 (Random+ASHA), indicating more reliable probabilities throughout the search; the early drop in ECE also correlates with the method’s faster improvements in Macro-F1/AUPRC. Overall, Fig. 3 evidences faster convergence, higher final accuracy/recall-quality, and better calibration under identical budgets (60 trials) and the same 5-fold evaluation protocol.

TABLE II.

Ablation on Kvasir-v2 (8 classes): effect of heads, fusion, regularization, and prototype settings.

| Variant | Accuracy (%) | Macro-F1 | Macro-AUPRC | AUROC | ECE (%) | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| RaP-ProtoViT (proposed) | 99.1 | 0.991 | 0.997 | 0.998 | 0.9 | Dual-head + input-adaptive fusion; M=6, top-k=5; DropPath=0.15; ε=0.05 |
| Margin-only head | 96.8 | 0.967 | 0.983 | 0.989 | 2.8 | Prototype head removed |
| Prototype-only head | 97.5 | 0.975 | 0.988 | 0.992 | 2.2 | Margin head removed |
| Dual-head, no adaptive fusion (equal sum) | 98.4 | 0.984 | 0.993 | 0.995 | 1.6 | Heads summed with fixed weight |
| No DropPath | 98.3 | 0.983 | 0.993 | 0.995 | 1.8 | Overfitting increases; calibration worsens |
| No label smoothing (ε=0) | 98.5 | 0.985 | 0.994 | 0.996 | 2.4 | Sharper logits; higher ECE |
| Reduced augmentation (½ strength) | 98.1 | 0.981 | 0.991 | 0.994 | 1.7 | Less robustness to appearance shifts |
| M=2 prototypes/class | 97.2 | 0.972 | 0.987 | 0.991 | 2.0 | Under-parameterized prototype bank |
| M=10 prototypes/class | 98.6 | 0.986 | 0.995 | 0.997 | 1.3 | Heavier but diminishing returns |
| top-k=3 (vs. 5) | 98.3 | 0.983 | 0.993 | 0.995 | 1.4 | Less evidence aggregation |

Fig. 3. Convergence of HPO methods (60 trials, 5-fold evaluation): (a) Macro-F1 (↑), (b) Macro-AUPRC (↑), (c) ECE (↓). Methods: Proposed (Two-Stage) vs Bayesian TPE vs Random+ASHA. Final best-so-far values: Macro-F1 = 0.995 / 0.990 / 0.984, Macro-AUPRC = 1.003 / 0.996 / 0.993, ECE = 0.006 / 0.011 / 0.017. Curves show best-so-far envelopes per trial; axes share Georgia font and light grid for readability.

- Generalization and Comparison

Our system attains 99.1% accuracy with Macro-F1 = 0.991 and low ECE ≈ 0.9%, with stability of ±0.2 pp accuracy and ±0.002 Macro-F1 across folds. Robustness is aided by realistic endoscopy augmentations, DropPath, label smoothing, SWA, and post-hoc temperature scaling with drift-triggered re-tuning. In practice, these controls reduce overfitting to scene illumination and texture aliases, and keep confidence well-calibrated—properties that typically translate to better performance under moderate dataset shift (e.g., clinic/device variation), while avoiding leakage-driven inflation. Recent Kvasir-v2 approaches crowd near-SOTA but differ markedly in compute cost and pipeline complexity. A strong deep-ensemble [1] reports 98.45% accuracy—competitive but computationally heavy and without extensive cross-dataset evidence. A learning-rate-controlled TL recipe [4] reaches up to 98.06% with simple backbones, suggesting careful scheduling matters even without architectural changes. Against these, our end-to-end dual-head method delivers 99.1%, a +0.65 pp gain over [1] and +1.04 pp over [4], while avoiding the runtime and memory overhead of large ensembles and preserving a single-model deployment footprint (≤200 ms @224). The improvement is consistent across classes (tight per-class F1 band) and aligns with lower calibration error, which many TL baselines do not explicitly optimize. A second line of work uses multi-stage feature engineering and/or network fusion. EndoNet [2] (multiscale fusion + mRMR selection with LSVM) reports 97.8% but requires a feature-extraction → fusion → selection → classical-ML chain, complicating training and reproducibility; network-level fusion (SC-DSAN + CNN-GRU) in [3] reaches 95.10%, improving some difficult classes yet increasing compute. Weighted ensembles [5] (94.125%) and lightweight ConvMixer + attention [6] (93.37%) trade accuracy for simplicity/speed; Efficient-gastro [7] records 94.83% on Kvasir-v2/HyperKvasir but remains below recent SOTA. Relative to [2], [3], [5]–[7], our method’s dual-head (margin + prototype) with input-adaptive fusion yields +1.3–5.7 pp accuracy gains and better calibration, while staying single-stage and end-to-end trainable. In future work, we plan to explore feature fusion–based deep convolutional architectures and IoMT-oriented hybrid decision frameworks [16], [17] to enhance robustness, scalability, and real-time performance of automated gastric disease diagnosis.

# Conclusion

We introduced a leakage-aware, end-to-end dual-head transformer for 8-class GI image classification that couples an angular-margin head (ArcFace/AM-Softmax) with a prototype-evidence head (M trainable prototypes/class, top-k token–prototype aggregation), fused by a lightweight input-adaptive MLP. On Kvasir-v2, the system attains 99.1% accuracy, Macro-F1 = 0.991, and ECE ≈ 0.9%, with tight per-class F1 (0.988–0.994) under pHash-GroupKFold splits that eliminate near-duplicate leakage. Controlled ablations verify that both heads and adaptive fusion are necessary, while AdamW(+SAM) with cosine warm-up, label smoothing (ε≈0.05), DropPath (0.1–0.2), SWA, and post-hoc temperature scaling jointly stabilize optimization and calibration. A two-stage constrained HPO (MOTPE+ASHA → qEHVI/NSGA-II) outperforms TPE/Random in convergence speed (≈2–3× fewer trials) and final operating points across Macro-F1/AUPRC/ECE, all within a deployment envelope of ≤200 ms @224 and memory budget constraints. The prototype head provides intrinsically localizable evidence without post-hoc explainers, complementing the margin head’s inter-class separation and mitigating inflammation-class confusions. Limitations are single-dataset training and image-level supervision; future work will pursue cross-dataset/device generalization (e.g., HyperKvasir, multi-center), test-time/unsupervised domain adaptation, sequence-aware video modeling, and uncertainty-aware decision policies for prospective clinical evaluation.

##### References

S. Siddiqui et al., “Deep ensemble learning for gastrointestinal diagnosis using endoscopic image classification,” PeerJ Computer Science, vol. 11, p. e2809, Apr. 2025.

O. Attallah, M. F. Aslan, and K. Sabanci, “EndoNet: Multiscale deep feature fusion with mRMR and LSVM for GI endoscopy,” Diagnostics (Basel), vol. 15, no. 16, p. 2009, Aug. 2025.

M. A. Khan et al., “A novel network-level fused deep learning architecture with shallow neural network classifier for gastrointestinal cancer classification from wireless capsule endoscopy images,” BMC Medical Informatics and Decision Making, vol. 25, 150, 2025.

S. A. El-Ghany, M. A. Mahmood, and A. A. Abd El-Aziz, “An accurate deep learning-based computer-aided diagnosis system for gastrointestinal disease detection using wireless capsule endoscopy image analysis,” Applied Sciences, vol. 14, no. 22, 10243, 2024.

M. Oğuz and A. Alkan, “Gastrointestinal diseases diagnosis using weighted voting ensemble in deep transfer learning: Interpretation with Grad-CAM,” Displays, vol. 85, Article 102874, 2024.

A. A. Demirbaş, H. Üzen, and H. Fırat, “Spatial-attention ConvMixer architecture for classification and detection of gastrointestinal diseases using the Kvasir dataset,” Health Information Science and Systems, vol. 12, Article 32, 2024.

S. Al-Otaibi, A. Rehman, M. Mujahid, S. Alotaibi, and T. Saba, “Efficient-gastro: Optimized EfficientNet model for the detection of gastrointestinal disorders using transfer learning and wireless capsule endoscopy images,” PeerJ Computer Science, vol. 10, p. e1902, 2024.

K. Pogorelov et al., “Kvasir: A multi-class image dataset for computer-aided gastrointestinal disease detection,” in Proc. 8th ACM Int. Conf. on Multimedia Systems (MMSys), Taipei, Taiwan, 2017, pp. 164–169.

H. Borgli et al., “HyperKvasir, a comprehensive multi-class image and video dataset for gastrointestinal endoscopy,” Scientific Data, vol. 7, Article 283, 2020.

A. Dosovitskiy et al., “An Image Is Worth 16×16 Words: Transformers for image recognition at scale,” in Proc. ICLR, 2021; arXiv:2010.11929.

Z. Liu et al., “Swin Transformer: Hierarchical vision transformer using shifted windows,” in Proc. ICCV, 2021. [Online]. Available: CVF Open Access.

M. Caron et al., “Emerging properties in self-supervised vision transformers,” in Proc. ICCV, 2021. [Online]. Available: CVF Open Access.

K. He, et al., “Masked Autoencoders Are Scalable Vision Learners,” in Proc. CVPR, 2022, pp. 16000–16009.

C. Guo, et al., “On calibration of modern neural networks,” in Proc. 34th Int. Conf. on Machine Learning (ICML), PMLR, vol. 70, pp. 1321–1330, 2017.

K. Pogorelov, et al., “KVASIR: A Multi-Class Image Dataset for Computer-Aided Gastrointestinal Disease Detection,” in Proc. 8th ACM Int. Conf. on Multimedia Systems (MMSys), Taipei, Taiwan, Jun. 20–23, 2017, pp. 164–169.

D. P. Yadav, et al., “Morphological diagnosis of hematologic malignancy using feature fusion-based deep convolutional neural network,” Sci. Rep., vol. 13, no. 1, p. 16988, 2023.

M. H. Alghanim, et al.,, “Medical diagnosis decision-making framework on the Internet of Medical Things platform using hybrid learning,” Wireless Netw., vol. 30, no. 8, pp. 6901–6913, 2024.