Application of Remote Sensing and Geographic Information Systems in Identifying and Evaluating Renewable Energy Resources

Mohammad Jafar Mokarram
School of Electronic Engineering and Intelligent Manufacturing
Anhui Xinhua University
Hefei, China
mjmokarram@axhu.edu.cn

Mohamed Hafez
Faculty of Engineering FEQS
INTI International University
Nilai, Malaysia 
Faculty of Management, Shinawatra University, Pathum Thani, Thailand, mohdahmed.hafez@newinti.edu.my
Asad Saleem
School of Electronic Engineering and Intelligent Manufacturing
Anhui Xinhua University
Hefei, China
asadsaleem@axhu.edu.cn

Marzieh Mokarram
Department of Geography, Faculty of Economics, Management and Social Sciences
Shiraz University
Shiraz, Iran
m.mokarram@shirazu.ac.ir

Hani Attar
Faculty of Engineering
Zarqa Univeristy
Jordan
Hattar@zu.edu.jo

Abstract—Renewable energies have received attention in recent decades due to the depletion of fossil fuel resources and the increasing energy demand due to the growth of the global population. This study provides an overview of the application of remote sensing and geographic information systems (GIS) in the identification and assessment of renewable energy resources. These resources include solar, wind, hydroelectric, biomass and geothermal energy. This paper focuses on how remote sensing and GIS techniques can be used to identify optimal locations for the exploitation of these resources. The goal is to achieve a sustainable future. Several case studies from different parts of the world are reviewed. These studies have shown that the combination of remote sensing and GIS techniques is more efficient than using each separately. This paper also analyzes the challenges in the application of these technologies from a current and future perspective. Potential solutions to these challenges are also proposed. The findings and recommendations of this study can be useful for researchers and policymakers in the field of renewable energy.

Keywords—Renewable energy, remote sensing, Geographic Information Systems, solar energy, wind energy, hydroelectric energy, biomass, geothermal energy

# Introduction

The world today faces numerous challenges in the field of energy. Population growth, industrial growth, and increasing demand for energy, along with decreasing fossil fuel resources and environmental concerns caused by climate change, have made the transition to renewable energy sources more urgent than ever. Fossil fuels such as oil, natural gas, and coal have been the main source of energy supply in various sectors, including power generation, transportation, and industries, for decades. Not only are these resources running out, but the greenhouse gas emissions they produce pose a serious threat to the environment [1]. According to international reports, continuing to use these resources at the current rate could have catastrophic consequences for global ecosystems [2]. Therefore, renewable energy sources such as solar, wind, hydroelectric, biomass, and geothermal energy have been considered as sustainable and clean alternatives [3].

These resources not only provide the energy needed by modern societies, but can also help reduce carbon emissions and improve environmental quality [4]. Renewable energies have unique characteristics that make them attractive options for the future of energy.

Solar energy harnesses the sun’s endless rays. With the advancement of photovoltaic technologies, its production costs have fallen dramatically [5]. It is regarded as clean energy technology that significantly participates in energy development and developing countries progress [6], [7], [8]. According to the International Energy Agency (IEA), renewable energy is expected to become one of the largest sources of electricity generation in the world by 2050 [9]. Wind energy has also become one of the fastest growing energy sources, with the rapid growth of wind turbine installations in coastal and offshore areas, especially in countries such as China and Denmark [10], [11]. Hydropower, with its long history of producing clean electricity, remains one of the most reliable renewable sources. Selecting the right location for hydroelectric power plants requires careful consideration of environmental impacts [12]. Biomass, as a source of organic matter such as agricultural and forest residues, plays an important role in energy supply, especially in developing countries [13]. Geothermal energy, using the natural heat of the earth, offers a sustainable option with high potential for electricity and heating production.

However, effective exploitation of these resources requires accurate identification of optimal locations and assessment of their potential. In this regard, remote sensing and geographic information system (GIS) technologies have emerged as key tools in renewable energy studies. Remote sensing, by providing accurate data on the land surface, weather patterns, and geographical features, enables extensive and rapid analysis of different regions [14]. For example, satellite imagery and Light Detection and Ranging (LiDAR) data play an important role in identifying suitable locations for wind turbines or solar panels [15]. With its ability to integrate spatial and non-spatial data, GIS helps in multidimensional analysis of energy resources and enables informed decision-making [16]. These technologies are particularly effective in

Figure 1. Combination of remote sensing and ANN for renewable energy forecasting.

assessing renewable energy potential on large scales and in remote areas where traditional field assessments are time-consuming and costly [17].

The use of remote sensing and GIS in renewable energy studies is not limited to identifying suitable locations. These technologies are also used in the management and optimization of energy projects. In wind energy projects, remote sensing data can analyze wind speed and direction at different altitudes. GIS allows for the study of environmental factors such as topography, land use, and proximity to infrastructure. In the case of solar energy, remote sensing can assess the intensity of solar radiation and the effect of obstacles such as clouds or shadows. GIS helps analyze the spatial distribution of these resources [18]. In the field of biomass, these technologies are used to estimate the amount of organic matter available and optimize the supply chain and transportation. Also, in hydroelectric projects, remote sensing and GIS play a key role in analyzing watersheds, water flow patterns, and environmental impacts. In the case of geothermal energy, these tools help identify areas with high thermal potential and evaluate subsurface resources [19]. Despite significant advances in the use of these technologies, there are also challenges.

Limitations such as the initial cost of setting up the systems, the need for high-quality data and expertise in data analysis, and the complexities associated with integrating multi-source data are among the obstacles that need to be addressed. In addition, the environmental and social impacts of renewable energy projects, especially in the case of hydroelectric power plants and offshore wind farms, require more detailed studies using these technologies. However, recent advances in image processing algorithms, artificial intelligence, and machine learning have increased the ability of these tools to analyze complex data and provide innovative solutions [16]. The aim of this article is to provide a comprehensive overview of the applications of remote sensing and GIS in the identification, assessment, and management of renewable energy resources. First, conventional methods and their limitations are reviewed. Then, the role of remote sensing and GIS technologies in improving the exploration and exploitation processes of renewable energy resources is discussed. Next, case studies of the application of these technologies in different parts of the world will be presented to demonstrate their effectiveness in practice. Finally, the future challenges and opportunities of this field are analyzed and recommendations are provided for policymakers and researchers. This study can be used as a valuable resource for developing sustainable strategies in the field of renewable energy. Fig. 1 shows a combination of remote sensing and Artificial Neural Network (ANN) for renewable energy forecasting.

# Data

A structured methodology was designed to investigate the applications of remote sensing and GIS in the assessment of renewable energy resources. The methodology includes literature search, case study selection, and data analysis. The study focuses on five renewable energy sources, including solar, wind, hydroelectric, biomass, and geothermal. The objective is to identify the methods used in remote sensing and GIS to explore and assess these resources and to examine their limitations and opportunities.

A. Conventional Methods in Renewable Energy Exploration

Conventional methods for renewable energy resource exploration include field surveys and manual analyses. These methods are often time-consuming and limited to small scales. In geothermal energy exploration, the steps include initial identification, exploration, drilling, and resource analysis [20]. Traditional methods include hydrogeological, geochemical, and geophysical surveys such as seismography, gravimetry, and electrical resistivity.

- Seismic surveying: The seismic wave velocity is calculated as v = √(E/ρ), where E is Young’s modulus and ρ is rock density [42].

- Gravimetric surveying: Variations in the gravitational field are analyzed as Δg = GM/r², where G is the gravitational constant, M is mass, and r is distance [43].

- Electrical resistivity: Specific resistivity is measured using ρ = RA/L, where R is resistance, A is the cross-sectional area, and L is length.

In wind energy, meteorological masts are used to measure wind speed, which have spatial limitations [21]. In solar energy, the irradiance intensity is calculated with local instruments and the equation I=I₀ cosθ. In this equation, I₀ is the primary irradiance intensity and θ is the angle of incidence. For biomass, field surveys are not sufficient to estimate organic resources. In hydroelectric energy, traditional hydrological analyses are performed with the continuity equation Q=A⋅v. In this equation, Q is the discharge, A is the cross-sectional area of the stream, and v is the flow velocity [22].

B. Applications of Remote Sensing and GIS

Remote sensing provides precise spatial data using technologies such as satellite imagery, LiDAR, Synthetic aperture radar (SAR), and Sonic Detection and Ranging (SODAR). The specific applications for each energy type are described below:

- Geothermal energy: Satellite thermal imagery (e.g., ASTER) is used to identify thermal anomalies. The heat transfer equation q = -k∇T, where q is heat flux, k is thermal conductivity, and ∇T is the temperature gradient [23].

- Wind energy: LiDAR and SAR data analyze wind speed at various altitudes using the wind power equation P = 1/2 ρAv³, where ρ is air density, A is rotor area, and v is wind speed [24].

- Solar energy: Solar radiation intensity is assessed using satellite data and the equation G = G₀ e(-τ), where G₀ is extraterrestrial radiation and τ is atmospheric turbidity.

- Biomass: Landsat imagery estimates vegetation cover and calculates biomass using the model B = f(NDVI), where NDVI is the Normalized Difference Vegetation Index [25].

- Hydroelectric energy: GIS and remote sensing analyze watersheds using the water balance equation P = Q + E + ΔS, where P is precipitation, Q is runoff, E is evaporation, and ΔS is the change in water storage.

C. GIS Techniques

GIS identifies optimal locations by integrating spatial data and analyses such as weighted analysis, multi-criteria modeling, and clustering. In wind farm location selection, the weighted equation S=∑wᵢ xᵢ is used. wᵢ is the criterion weight and xᵢ is the criterion score. In solar energy, GIS analyzes terrain slope and radiation with the model E=G⋅A⋅η. E is the energy produced, G is the radiation, A is the area, and η is the efficiency. For biomass, GIS optimizes transportation costs with the model C=d⋅cᵤ. d is the distance and cᵤ is the unit transportation cost. In hydroelectricity, GIS hydrological models evaluate the production potential with the equation P=ρgQhη. g is the acceleration of gravity, h is the height, and η is the turbine efficiency.

# Role of Remote Sensing and GIS in Exploring Renewable Energy Resources

Remote sensing and GIS play an important role as key tools in the exploration and evaluation of renewable energy resources. These technologies overcome the limitations of traditional methods by providing accurate spatial data and enabling multi-criteria analyses. They improve the process of identifying optimal locations for energy projects.

A. Direct and Indirect Evidence in Remote Sensing

Remote sensing data can provide direct or indirect evidence of the potential of energy resources. Direct evidence is information that is directly related to the physical characteristics of the energy resource. For example, in geothermal energy, satellite thermal images (such as ASTER) identify surface thermal anomalies such as hot springs or chimneys. These data are analyzed using the heat transfer equation q=-k∇T. In solar energy, the irradiance is extracted from satellite data using the equation G=G₀ e(-τ). Indirect evidence requires further interpretation. An example is the use of vegetation cover indices (NDVI) to identify areas under thermal stress in geothermal exploration. The analysis of wind patterns with SAR data for wind farms is also an example of indirect evidence. Table 1 summarizes the various applications of remote sensing and GIS in renewable energy exploration.

# discussion

The application of remote sensing and GIS in the exploration and evaluation of renewable energy resources has brought about a fundamental transformation in energy resource management. By providing accurate spatial data and enabling multi-criteria analyses, these technologies have overcome the limitations of traditional methods such as costly and time-consuming field surveys. In geothermal energy, satellite thermal images such as ASTER and hyperspectral data from HyMap allow the identification of thermal anomalies and altered minerals. These data are analyzed with heat transfer equations such as q=-k∇T. The use of GIS together with these data has increased the accuracy of identifying optimal drilling locations.

However, challenges such as the need for high-quality data and limited accuracy in areas with cloud cover still exist. In wind energy, technologies such as LiDAR and SAR analyze wind speed and direction with the wind power equation P=1/2 ρAv³. However, atmospheric interferences and the need for precise calibration can affect the accuracy of the data. For solar energy, remote sensing assesses the intensity of radiation with the equation G=G₀ e(-τ). Obstacles such as shadows and atmospheric turbidity require more advanced GIS analyses.

Table 1. Applications of Remote Sensing and GIS in Exploring Renewable Energy Resources

| Energy Source | Remote Sensing Technique | GIS Application | Direct Evidence | Indirect Evidence |
| --- | --- | --- | --- | --- |
| Geothermal | ASTER, HyMap thermal imagery | Fault analysis, reservoir modeling | Hot springs, fumaroles | Stressed vegetation |
| Wind | LiDAR, SAR, SODAR | Topography analysis, grid proximity | Wind speed and direction | Airflow patterns |
| Solar | Landsat satellite imagery | Slope and radiation analysis | Solar radiation intensity | Cloud cover, shadows |
| Biomass | Landsat, Sentinel-2 | Land use and transportation analysis | Vegetation cover | Organic resource potential |
| Hydroelectric | DEM, satellite imagery | Hydrological modeling | River flow | Watershed, topography |

In biomass, the NDVI index is used with the formula NDVI=(NIR-Red)/(NIR+Red) to estimate organic resources. Ground verification is essential to ensure accuracy. In hydroelectric energy, GIS hydrological modeling assesses the potential for electricity generation with the equation P=ρgQhη. However, environmental impacts such as the degradation of river ecosystems require special attention. Case studies, such as offshore wind farm projects in China and solar power plants in India, demonstrate the success of these technologies on a large scale.

However, initial costs, the need for expertise, and the integration of multi-source data remain challenges. These challenges can be improved with technologies such as artificial intelligence and machine learning. Combining remote sensing and GIS not only increases accuracy and efficiency, but also allows for the analysis of future scenarios. For example, climate change modeling with GIS can predict long-term impacts on energy resources. However, effective policymaking is essential to support investment in these technologies and the development of data infrastructures. Collaboration between scientists, policymakers, and industry is also crucial to overcome technical and financial barriers.

# conclusion

Remote sensing and GIS, as advanced tools, play a key role in the exploration and assessment of renewable energy resources. These technologies have improved the process of identifying optimal locations for solar, wind, hydroelectric, biomass, and geothermal energy by providing accurate data and large-scale analysis. Global case studies demonstrate the success of these tools in practical projects. However, challenges such as costs, expertise requirements, and data limitations require attention. Combining these technologies with artificial intelligence and supportive policies can ensure a more sustainable future. This study emphasizes the importance of integrating remote sensing and GIS for renewable energy development. Recommends increased investment in data infrastructure and training of professionals.

##### References

[1]	C. Mora et al., “Broad threat to humanity from cumulative climate hazards intensified by greenhouse gas emissions,” Nat Clim Chang, vol. 8, no. 12, pp. 1062–1071, 2018.

[2]	H. K. Mohajan, “Greenhouse gas emissions, global warming and climate change,” in Proceedings of the 15th Chittagong Conference on Mathematical Physics, Jamal Nazrul Islam Research Centre for Mathematical and Physical Sciences (JNIRCMPS), Chittagong, Bangladesh, 2017.

[3]	H. Attar, A. Alahmer, G. Borowski, and S. Alsaqoor, “Comprehensive review of advancements, challenges, design, and environmental impact in floating photovoltaic systems.,” Ecological Engineering & Environmental Technology (EEET), vol. 26, no. 2, 2025.

[4]	N. L. Panwar, S. C. Kaushik, and S. Kothari, “Role of renewable energy sources in environmental protection: A review,” Renewable and sustainable energy reviews, vol. 15, no. 3, pp. 1513–1524, 2011.

[5]	S. Dhivya and S. Prakash, “Power Quality Assessment in Grid-Connected Solar PV Systems Using Deep Learning Techniques,” Journal of Applied Data Sciences, vol. 6, no. 2, pp. 1192–1208, 2025.

[6]	A. Amer et al., “Floating photovoltaics: assessing the potential, advantages, and challenges of harnessing solar energy on water bodies,” Journal of Ecological Engineering, vol. 24, no. 10, pp. 324–339, Oct. 2023, doi: 10.12911/22998993/170917.

[7]	H. Attar, A. Alahmer, G. Borowski, and S. Alsaqoor, “Comprehensive review of advancements, challenges, design, and environmental impact in floating photovoltaic systems,” Ecological Engineering & Environmental Technology, vol. 26, no. 2, pp. 301–322, 2025, doi: 10.12912/27197050/199520.

[8]	S. Prakash, S. Dhivya, and M. Batumalay, “Power Quality Assessment in Grid-Connected Solar PV Systems Using Deep Learning Techniques,” Journal of Applied Data Sciences, vol. 6, no. 2, pp. 1192–1208, Apr. 2025, doi: 10.47738/JADS.V6I2.655.

[9]	M. Metayer, C. Breyer, and H.-J. Fell, “The projections for the future and quality in the past of the World Energy Outlook for solar PV and other renewable energy technologies,” in 31st European Photovoltaic Solar Energy Conference and Exhibition, 2015.

[10]	M. DeCastro et al., “Europe, China and the United States: Three different approaches to the development of offshore wind energy,” Renewable and Sustainable Energy Reviews, vol. 109, pp. 55–70, 2019.

[11]	J. Ladenburg, P. Hevia-Koch, S. Petrović, and L. Knapp, “The offshore-onshore conundrum: Preferences for wind energy considering spatial data in Denmark,” Renewable and Sustainable Energy Reviews, vol. 121, p. 109711, 2020.

[12]	A. M. Bagher, M. Vahid, M. Mohsen, and D. Parvin, “Hydroelectric energy advantages and disadvantages,” American Journal of Energy Science, vol. 2, no. 2, pp. 17–20, 2015.

[13]	M. Mokarram, S. R. A. Ronizi, and S. Negahban, “Optimizing biomass energy production in the southern region of Iran: A deterministic MCDM and machine learning approach in GIS,” Energy Policy, vol. 195, p. 114350, 2024.

[14]	M. Mokarram, M. J. Mokarram, and A. Najafi, “Thermal power plants pollution assessment based on deep neural networks, remote sensing, and GIS: A real case study in Iran,” Mar Pollut Bull, vol. 192, p. 115069, 2023.

[15]	A. Tiwari, I. A. Meir, and A. Karnieli, “Object-based image procedures for assessing the solar energy photovoltaic potential of heterogeneous rooftops using airborne LiDAR and orthophoto,” Remote Sens (Basel), vol. 12, no. 2, p. 223, 2020.

[16]	M. Mokarram, H. R. Pourghasemi, and M. J. Mokarram, “A multi-criteria GIS-based model for wind farm site selection with the least impact on environmental pollution using the OWA-ANP method,” Environmental Science and Pollution Research, vol. 29, no. 29, pp. 43891–43912, 2022.

[17]	M. Mokarram, M. J. Mokarram, M. Gitizadeh, T. Niknam, and J. Aghaei, “A novel optimal placing of solar farms utilizing multi-criteria decision-making (MCDA) and feature selection,” J Clean Prod, vol. 261, p. 121098, 2020.

[18]	M. Mokarram, M. J. Mokarram, M. R. Khosravi, A. Saber, and A. Rahideh, “Determination of the optimal location for constructing solar photovoltaic farms based on multi-criteria decision system and Dempster–Shafer theory,” Sci Rep, vol. 10, no. 1, p. 8200, 2020.

[19]	M. Pathak, “Application of GIS and remote sensing for hydropower development in Nepal,” Hydro Nepal: Journal of Water, Energy and Environment, vol. 3, pp. 42–45, 2008.

[20]	A. Aragón-Aguilar, G. Izquierdo-Montalvo, D. O. Aragón-Gaspar, and D. N. Barreto-Rivera, “Stages of a Integrated Geothermal,” Renewable Geothermal Energy Explorations, p. 39, 2019.

[21]	R. J. Barthelmie, M. S. Courtney, J. Højstrup, and S. E. Larsen, “Meteorological aspects of offshore wind energy: Observations from the Vindeby wind farm,” Journal of Wind Engineering and Industrial Aerodynamics, vol. 62, no. 2–3, pp. 191–211, 1996.

[22]	D. H. Ngoma and Y. Wang, “Hhaynu micro hydropower scheme: Mbulu–Tanzania comparative river flow velocity and discharge measurement methods,” Flow Measurement and Instrumentation, vol. 62, pp. 135–142, 2018.

[23]	A. Toth and E. Bobok, Flow and heat transfer in geothermal systems: basic equations for describing and modeling geothermal phenomena and technologies. Elsevier, 2016.

[24]	M. Bilgili, M. Tontu, and B. Sahin, “Aerodynamic rotor performance of a 3300-kW modern commercial large-scale wind turbine installed in a wind farm,” J Energy Resour Technol, vol. 143, no. 3, p. 31302, 2021.

[25]	B. Zhang, L. Zhang, D. Xie, X. Yin, C. Liu, and G. Liu, “Application of synthetic NDVI time series blended from Landsat and MODIS data for grassland biomass estimation,” Remote Sens (Basel), vol. 8, no. 1, p. 10, 2015.